## HK
S/C power voltage | 80.LEV
S/C power voltage | 80.VEV
S/C power voltage | 80.UEV
S/C power voltage | 80.REV
Motor Temperature | 60.LKI
Motor Temperature | 60.VKI
Motor Temperature | 60.UKI
Motor Temperature | 60.RKI
Tilt X | 61.LA1
Tilt X | 61.VA1
Tilt X | 61.UA1
Tilt X | 61.RA1
Tilt Y | 62.LA2
Tilt Y | 62.VA2
Tilt Y | 62.UA2
Tilt Y | 62.RA2
High Resolution Tilt X | 63.LAU
High Resolution Tilt X | 63.VAU
High Resolution Tilt X | 63.UAU
High Resolution Tilt X | 63.RAU
High Resolution Tilit Y | 64.LAV
High Resolution Tilit Y | 64.VAV
High Resolution Tilit Y | 64.UAV
High Resolution Tilit Y | 64.RAV
Status Flag Register | 65.LYS
Status Flag Register | 65.VYS
Status Flag Register | 65.UYS
Status Flag Register | 65.RYS
Step Counter | 66.LYN
Step Counter | 66.VYN
Step Counter | 66.UYN
Step Counter | 66.RYN
LVL Power Control Register | 67.LYP
LVL Power Control Register | 67.VYP
LVL Power Control Register | 67.UYP
LVL Power Control Register | 67.RYP
LVL Motor Control Register | 68.LYM
LVL Motor Control Register | 68.VYM
LVL Motor Control Register | 68.UYM
LVL Motor Control Register | 68.RYM
Start Speed Register | 69.LYA
Start Speed Register | 69.VYA
Start Speed Register | 69.UYA
Start Speed Register | 69.RYA
Ramp Parameter Register | 70.LYB
Ramp Parameter Register | 70.VYB
Ramp Parameter Register | 70.UYB
Ramp Parameter Register | 70.RYB
Quad Step Count Register | 71.LYC
Quad Step Count Register | 71.VYC
Quad Step Count Register | 71.UYC
Quad Step Count Register | 71.RYC
Overtemperature Limit Register | 72.LYD
Overtemperature Limit Register | 72.VYD
Overtemperature Limit Register | 72.UYD
Overtemperature Limit Register | 72.RYD
Executive Register | 73.LYE
Executive Register | 73.VYE
Executive Register | 73.UYE
Executive Register | 73.RYE
Preset Quad Step Register | 74.LYF
Preset Quad Step Register | 74.VYF
Preset Quad Step Register | 74.UYF
Preset Quad Step Register | 74.RYF
SP-HK1-MPOS1 | 02.LMA
SP-HK1-MPOS2 | 02.UMA
SP-HK2-MPOS1 | 03.LMA
SP-HK2-MPOS2 | 03.UMA
SEIS-DC+13VV | 04.LEV
SEIS-DC+13VV | 04.UEV
CAL1-HKT | 05.LYO
CAL1-HKT | 05.UYO
SP-HK1-MPOS2 | 06.LMB
SP-HK1-MPOS3 | 06.UMB
SP-HK2-MPOS2 | 07.LMB
SP-HK2-MPOS2 | 07.UMB
SEIS-DC+15VA | 08.LEA
SEIS-DC+15VA | 08.UEA
VBB2-PXT | 09.LK1
VBB2-PXT | 09.UK1
SP-HK1-MPOS3 | 10.LMC
SP-HK1-MPOS3 | 10.UMC
SP-HK2-MPOS3 | 11.LMC
SP-HK2-MPOS3 | 11.UMC
SEIS-DC-13VV | 12.LEV
SEIS-DC-13VV | 12.UEV
VBB3-PXT | 13.LK1
VBB3-PXT | 13.UK1
SP-HK1-TEMP-FB | 14.LKP
SP-HK1-TEMP-FB | 14.UKP
SP-HK2-TEMP-FBE | 15.LKP
SP-HK2-TEMP-FBE | 15.UKP
SEIS-DC-15VA | 16.LEA
SEIS-DC-15VA | 16.UEA
VBB3-HKT | 17.LK2
VBB3-HKT | 17.UK2
SEIS-DC+7VAV | 18.LEV
SEIS-DC+7VAV | 18.UEV
SP-HK1-SP1-TEMP | 19.LK1
SP-HK1-SP1-TEMP | 19.UK1
SP-HK2-SP1-TEMPE | 20.LK2
SP-HK2-SP1-TEMPE | 20.UK2
SEIS-DC+7VAA | 21.LEA
SEIS-DC+7VAA | 21.UEA
VBB1-HKT | 22.LK2
VBB1-HKT | 22.UK2
SP-HK1-SP2-TEMP | 23.LK1
SP-HK1-SP2-TEMP | 23.UK1
SP-HK2-SP2-TEMPE | 24.LK2
SP-HK2-SP2-TEMPE | 24.UK2
SEIS-DC-10VV | 25.LEV
SEIS-DC-10VV | 25.UEV
VBB2-HKT | 26.LK2
VBB2-HKT | 26.UK2
SP-HK1-SP3-TEMP | 27.LK1
SP-HK1-SP3-TEMP | 27.UK1
SP-HK2-SP3-TEMPE | 28.LK2
SP-HK2-SP3-TEMPE | 28.UK2
SEIS-DC-10VA | 29.LEA
SEIS-DC-10VA | 29.UEA
VBB1-PXT | 30.LK1
VBB1-PXT | 30.UK1
SP-HK1+VREF | 31.LEV
SP-HK1+VREF | 31.UEV
SP-HK2-VREF | 32.LEV
SP-HK2-VREF | 32.UEV
ACQ-HKT | 33.LKA
ACQ-HKT | 33.UKA
SEIS-DC+1V2VA | 34.LEV
SEIS-DC+1V2VA | 34.UEV
SEIS-AC+5VREF | 35.LEV
SEIS-AC+5VREF | 35.UEV
SEIS-DC+1V2VA | 36.LEA
SEIS-DC+1V2VA | 36.UEA
DC-HKT | 37.LKD
DC-HKT | 37.UKD
SEIS-DC+3V3VA | 38.LEA
SEIS-DC+3V3VA | 38.UEA
SEIS-AC-6VSV | 39.LEV
SEIS-AC-6VSV | 39.UEV
SEIS-DC+3V3V | 40.LEV
SEIS-DC+3V3V | 40.UEV
SEIS-AC+6VSV | 41.LEV
SEIS-AC+6VSV | 41.UEV
SEIS-DC-5VV | 42.LEV
SEIS-DC-5VV | 42.UEV
CTL-HKT | 43.LKC
CTL-HKT | 43.UKC
SEIS-DC+5VV | 44.LEV
SEIS-DC+5VV | 44.UEV
SEIS-AC+6VSA | 45.LEA
SEIS-AC+6VSA | 45.UEA
SEIS-DC-5VA | 46.LEA
SEIS-DC-5VA | 46.UEA
CAL2-HKT | 47.LYO
CAL2-HKT | 47.UYO
SEIS-DC+5VA | 48.LEA
SEIS-DC+5VA | 48.UEA

## SCI
VBB 1 Velocity High Gain Science mode | 00.HHU
VBB 1 Velocity High Gain Science mode | 00.BHU
VBB 1 Velocity High Gain Science mode | 01.BHU
VBB 1 Velocity High Gain Science mode | 02.BHU
VBB 1 Velocity High Gain Science mode | 03.BHU
VBB 1 Velocity High Gain Science mode | 00.MHU
VBB 1 Velocity High Gain Science mode | 01.MHU
VBB 1 Velocity High Gain Science mode | 02.MHU
VBB 1 Velocity High Gain Science mode | 00.LHU
VBB 1 Velocity Low Gain Science mode | 05.HLU
VBB 1 Velocity Low Gain Science mode | 05.BLU
VBB 1 Velocity Low Gain Science mode | 06.BLU
VBB 1 Velocity Low Gain Science mode | 07.BLU
VBB 1 Velocity Low Gain Science mode | 08.BLU
VBB 1 Velocity Low Gain Science mode | 05.MLU
VBB 1 Velocity Low Gain Science mode | 06.MLU
VBB 1 Velocity Low Gain Science mode | 07.MLU
VBB 1 Velocity Low Gain Science mode | 05.LLU
VBB 1 Velocity High Gain Engin. mode | 10.HHU
VBB 1 Velocity High Gain Engin. mode | 10.BHU
VBB 1 Velocity High Gain Engin. mode | 11.BHU
VBB 1 Velocity High Gain Engin. mode | 12.BHU
VBB 1 Velocity High Gain Engin. mode | 13.BHU
VBB 1 Velocity High Gain Engin. mode | 10.MHU
VBB 1 Velocity High Gain Engin. mode | 11.MHU
VBB 1 Velocity High Gain Engin. mode | 12.MHU
VBB 1 Velocity High Gain Engin. mode | 10.LHU
VBB 1 Velocity Low Gain Engin. mode | 15.HLU
VBB 1 Velocity Low Gain Engin. mode | 15.BLU
VBB 1 Velocity Low Gain Engin. mode | 16.BLU
VBB 1 Velocity Low Gain Engin. mode | 17.BLU
VBB 1 Velocity Low Gain Engin. mode | 18.BLU
VBB 1 Velocity Low Gain Engin. mode | 15.MLU
VBB 1 Velocity Low Gain Engin. mode | 16.MLU
VBB 1 Velocity Low Gain Engin. mode | 17.MLU
VBB 1 Velocity Low Gain Engin. mode | 15.LLU
VBB 1 Position High Gain Science mode | 00.LMU
VBB 1 Position High Gain Science mode | 00.VMU
VBB 1 Position High Gain Science mode | 01.VMU
VBB 1 Position High Gain Science mode | 02.VMU
VBB 1 Position High Gain Science mode | 03.VMU
VBB 1 Position High Gain Science mode | 00.UMU
VBB 1 Position High Gain Science mode | 01.UMU
VBB 1 Position High Gain Science mode | 02.UMU
VBB 1 Position High Gain Science mode | 03.UMU
VBB 1 Position High Gain Science mode | 00.RMU
VBB 1 Position High Gain Science mode | 01.RMU
VBB 1 Position High Gain Science mode | 02.RMU
VBB 1 Position High Gain Science mode | 03.RMU
VBB 1 Position Low Gain Science mode | 05.LMU
VBB 1 Position Low Gain Science mode | 05.VMU
VBB 1 Position Low Gain Science mode | 06.VMU
VBB 1 Position Low Gain Science mode | 07.VMU
VBB 1 Position Low Gain Science mode | 08.VMU
VBB 1 Position Low Gain Science mode | 05.UMU
VBB 1 Position Low Gain Science mode | 06.UMU
VBB 1 Position Low Gain Science mode | 07.UMU
VBB 1 Position Low Gain Science mode | 08.UMU
VBB 1 Position Low Gain Science mode | 05.RMU
VBB 1 Position Low Gain Science mode | 06.RMU
VBB 1 Position Low Gain Science mode | 07.RMU
VBB 1 Position Low Gain Science mode | 08.RMU
VBB 1 Position High Gain Engin. mode | 10.LMU
VBB 1 Position High Gain Engin. mode | 10.VMU
VBB 1 Position High Gain Engin. mode | 11.VMU
VBB 1 Position High Gain Engin. mode | 12.VMU
VBB 1 Position High Gain Engin. mode | 13.VMU
VBB 1 Position High Gain Engin. mode | 10.UMU
VBB 1 Position High Gain Engin. mode | 11.UMU
VBB 1 Position High Gain Engin. mode | 12.UMU
VBB 1 Position High Gain Engin. mode | 13.UMU
VBB 1 Position High Gain Engin. mode | 10.RMU
VBB 1 Position High Gain Engin. mode | 11.RMU
VBB 1 Position High Gain Engin. mode | 12.RMU
VBB 1 Position High Gain Engin. mode | 13.RMU
VBB 1 Position Low Gain Engin. mode | 15.LMU
VBB 1 Position Low Gain Engin. mode | 15.VMU
VBB 1 Position Low Gain Engin. mode | 16.VMU
VBB 1 Position Low Gain Engin. mode | 17.VMU
VBB 1 Position Low Gain Engin. mode | 18.VMU
VBB 1 Position Low Gain Engin. mode | 15.UMU
VBB 1 Position Low Gain Engin. mode | 16.UMU
VBB 1 Position Low Gain Engin. mode | 17.UMU
VBB 1 Position Low Gain Engin. mode | 18.UMU
VBB 1 Position Low Gain Engin. mode | 15.RMU
VBB 1 Position Low Gain Engin. mode | 16.RMU
VBB 1 Position Low Gain Engin. mode | 17.RMU
VBB 1 Position Low Gain Engin. mode | 18.RMU
VBB 1 Temperature | 00.LKU
VBB 1 Temperature | 00.VKU
VBB 1 Temperature | 01.VKU
VBB 1 Temperature | 02.VKU
VBB 1 Temperature | 03.VKU
VBB 1 Temperature | 00.UKU
VBB 1 Temperature | 01.UKU
VBB 1 Temperature | 02.UKU
VBB 1 Temperature | 03.UKU
VBB 1 Temperature | 00.RKU
VBB 1 Temperature | 01.RKU
VBB 1 Temperature | 02.RKU
VBB 1 Temperature | 03.RKU
VBB 2 Velocity High Gain Science mode | 00.HHV
VBB 2 Velocity High Gain Science mode | 00.BHV
VBB 2 Velocity High Gain Science mode | 01.BHV
VBB 2 Velocity High Gain Science mode | 02.BHV
VBB 2 Velocity High Gain Science mode | 03.BHV
VBB 2 Velocity High Gain Science mode | 00.MHV
VBB 2 Velocity High Gain Science mode | 01.MHV
VBB 2 Velocity High Gain Science mode | 02.MHV
VBB 2 Velocity High Gain Science mode | 00.LHV
VBB 2 Velocity Low Gain Science mode | 05.HLV
VBB 2 Velocity Low Gain Science mode | 05.BLV
VBB 2 Velocity Low Gain Science mode | 06.BLV
VBB 2 Velocity Low Gain Science mode | 07.BLV
VBB 2 Velocity Low Gain Science mode | 08.BLV
VBB 2 Velocity Low Gain Science mode | 05.MLV
VBB 2 Velocity Low Gain Science mode | 06.MLV
VBB 2 Velocity Low Gain Science mode | 07.MLV
VBB 2 Velocity Low Gain Science mode | 05.LLV
VBB 2 Velocity High Gain Engin. mode | 10.HHV
VBB 2 Velocity High Gain Engin. mode | 10.BHV
VBB 2 Velocity High Gain Engin. mode | 11.BHV
VBB 2 Velocity High Gain Engin. mode | 12.BHV
VBB 2 Velocity High Gain Engin. mode | 13.BHV
VBB 2 Velocity High Gain Engin. mode | 10.MHV
VBB 2 Velocity High Gain Engin. mode | 11.MHV
VBB 2 Velocity High Gain Engin. mode | 12.MHV
VBB 2 Velocity High Gain Engin. mode | 10.LHV
VBB 2 Velocity Low Gain Engin. mode | 15.HLV
VBB 2 Velocity Low Gain Engin. mode | 15.BLV
VBB 2 Velocity Low Gain Engin. mode | 16.BLV
VBB 2 Velocity Low Gain Engin. mode | 17.BLV
VBB 2 Velocity Low Gain Engin. mode | 18.BLV
VBB 2 Velocity Low Gain Engin. mode | 15.MLV
VBB 2 Velocity Low Gain Engin. mode | 16.MLV
VBB 2 Velocity Low Gain Engin. mode | 17.MLV
VBB 2 Velocity Low Gain Engin. mode | 15.LLV
VBB 2 Position High Gain Science mode | 00.LMV
VBB 2 Position High Gain Science mode | 00.VMV
VBB 2 Position High Gain Science mode | 01.VMV
VBB 2 Position High Gain Science mode | 02.VMV
VBB 2 Position High Gain Science mode | 03.VMV
VBB 2 Position High Gain Science mode | 00.UMV
VBB 2 Position High Gain Science mode | 01.UMV
VBB 2 Position High Gain Science mode | 02.UMV
VBB 2 Position High Gain Science mode | 03.UMV
VBB 2 Position High Gain Science mode | 00.RMV
VBB 2 Position High Gain Science mode | 01.RMV
VBB 2 Position High Gain Science mode | 02.RMV
VBB 2 Position High Gain Science mode | 03.RMV
VBB 2 Position Low Gain Science mode | 05.LMV
VBB 2 Position Low Gain Science mode | 05.VMV
VBB 2 Position Low Gain Science mode | 06.VMV
VBB 2 Position Low Gain Science mode | 07.VMV
VBB 2 Position Low Gain Science mode | 08.VMV
VBB 2 Position Low Gain Science mode | 05.UMV
VBB 2 Position Low Gain Science mode | 06.UMV
VBB 2 Position Low Gain Science mode | 07.UMV
VBB 2 Position Low Gain Science mode | 08.UMV
VBB 2 Position Low Gain Science mode | 05.RMV
VBB 2 Position Low Gain Science mode | 06.RMV
VBB 2 Position Low Gain Science mode | 07.RMV
VBB 2 Position Low Gain Science mode | 08.RMV
VBB 2 Position High Gain Engin. mode | 10.LMV
VBB 2 Position High Gain Engin. mode | 10.VMV
VBB 2 Position High Gain Engin. mode | 11.VMV
VBB 2 Position High Gain Engin. mode | 12.VMV
VBB 2 Position High Gain Engin. mode | 13.VMV
VBB 2 Position High Gain Engin. mode | 10.UMV
VBB 2 Position High Gain Engin. mode | 11.UMV
VBB 2 Position High Gain Engin. mode | 12.UMV
VBB 2 Position High Gain Engin. mode | 13.UMV
VBB 2 Position High Gain Engin. mode | 10.RMV
VBB 2 Position High Gain Engin. mode | 11.RMV
VBB 2 Position High Gain Engin. mode | 12.RMV
VBB 2 Position High Gain Engin. mode | 13.RMV
VBB 2 Position Low Gain Engin. mode | 15.LMV
VBB 2 Position Low Gain Engin. mode | 15.VMV
VBB 2 Position Low Gain Engin. mode | 16.VMV
VBB 2 Position Low Gain Engin. mode | 17.VMV
VBB 2 Position Low Gain Engin. mode | 18.VMV
VBB 2 Position Low Gain Engin. mode | 15.UMV
VBB 2 Position Low Gain Engin. mode | 16.UMV
VBB 2 Position Low Gain Engin. mode | 17.UMV
VBB 2 Position Low Gain Engin. mode | 18.UMV
VBB 2 Position Low Gain Engin. mode | 15.RMV
VBB 2 Position Low Gain Engin. mode | 16.RMV
VBB 2 Position Low Gain Engin. mode | 17.RMV
VBB 2 Position Low Gain Engin. mode | 18.RMV
VBB 2 Temperature | 00.LKV
VBB 2 Temperature | 00.VKV
VBB 2 Temperature | 01.VKV
VBB 2 Temperature | 02.VKV
VBB 2 Temperature | 03.VKV
VBB 2 Temperature | 00.UKV
VBB 2 Temperature | 01.UKV
VBB 2 Temperature | 02.UKV
VBB 2 Temperature | 03.UKV
VBB 2 Temperature | 00.RKV
VBB 2 Temperature | 01.RKV
VBB 2 Temperature | 02.RKV
VBB 2 Temperature | 03.RKV
VBB 3 Velocity High Gain Science mode | 00.HHW
VBB 3 Velocity High Gain Science mode | 00.BHW
VBB 3 Velocity High Gain Science mode | 01.BHW
VBB 3 Velocity High Gain Science mode | 02.BHW
VBB 3 Velocity High Gain Science mode | 03.BHW
VBB 3 Velocity High Gain Science mode | 00.MHW
VBB 3 Velocity High Gain Science mode | 01.MHW
VBB 3 Velocity High Gain Science mode | 02.MHW
VBB 3 Velocity High Gain Science mode | 00.LHW
VBB 3 Velocity Low Gain Science mode | 05.HLW
VBB 3 Velocity Low Gain Science mode | 05.BLW
VBB 3 Velocity Low Gain Science mode | 06.BLW
VBB 3 Velocity Low Gain Science mode | 07.BLW
VBB 3 Velocity Low Gain Science mode | 08.BLW
VBB 3 Velocity Low Gain Science mode | 05.MLW
VBB 3 Velocity Low Gain Science mode | 06.MLW
VBB 3 Velocity Low Gain Science mode | 07.MLW
VBB 3 Velocity Low Gain Science mode | 05.LLW
VBB 3 Velocity High Gain Engin. mode | 10.HHW
VBB 3 Velocity High Gain Engin. mode | 10.BHW
VBB 3 Velocity High Gain Engin. mode | 11.BHW
VBB 3 Velocity High Gain Engin. mode | 12.BHW
VBB 3 Velocity High Gain Engin. mode | 13.BHW
VBB 3 Velocity High Gain Engin. mode | 10.MHW
VBB 3 Velocity High Gain Engin. mode | 11.MHW
VBB 3 Velocity High Gain Engin. mode | 12.MHW
VBB 3 Velocity High Gain Engin. mode | 10.LHW
VBB 3 Velocity Low Gain Engin. mode | 15.HLW
VBB 3 Velocity Low Gain Engin. mode | 15.BLW
VBB 3 Velocity Low Gain Engin. mode | 16.BLW
VBB 3 Velocity Low Gain Engin. mode | 17.BLW
VBB 3 Velocity Low Gain Engin. mode | 18.BLW
VBB 3 Velocity Low Gain Engin. mode | 15.MLW
VBB 3 Velocity Low Gain Engin. mode | 16.MLW
VBB 3 Velocity Low Gain Engin. mode | 17.MLW
VBB 3 Velocity Low Gain Engin. mode | 15.LLW
VBB 3 Position High Gain Science mode | 00.LMW
VBB 3 Position High Gain Science mode | 00.VMW
VBB 3 Position High Gain Science mode | 01.VMW
VBB 3 Position High Gain Science mode | 02.VMW
VBB 3 Position High Gain Science mode | 03.VMW
VBB 3 Position High Gain Science mode | 00.UMW
VBB 3 Position High Gain Science mode | 01.UMW
VBB 3 Position High Gain Science mode | 02.UMW
VBB 3 Position High Gain Science mode | 03.UMW
VBB 3 Position High Gain Science mode | 00.RMW
VBB 3 Position High Gain Science mode | 01.RMW
VBB 3 Position High Gain Science mode | 02.RMW
VBB 3 Position High Gain Science mode | 03.RMW
VBB 3 Position Low Gain Science mode | 05.LMW
VBB 3 Position Low Gain Science mode | 05.VMW
VBB 3 Position Low Gain Science mode | 06.VMW
VBB 3 Position Low Gain Science mode | 07.VMW
VBB 3 Position Low Gain Science mode | 08.VMW
VBB 3 Position Low Gain Science mode | 05.UMW
VBB 3 Position Low Gain Science mode | 06.UMW
VBB 3 Position Low Gain Science mode | 07.UMW
VBB 3 Position Low Gain Science mode | 08.UMW
VBB 3 Position Low Gain Science mode | 05.RMW
VBB 3 Position Low Gain Science mode | 06.RMW
VBB 3 Position Low Gain Science mode | 07.RMW
VBB 3 Position Low Gain Science mode | 08.RMW
VBB 3 Position High Gain Engin. mode | 10.LMW
VBB 3 Position High Gain Engin. mode | 10.VMW
VBB 3 Position High Gain Engin. mode | 11.VMW
VBB 3 Position High Gain Engin. mode | 12.VMW
VBB 3 Position High Gain Engin. mode | 13.VMW
VBB 3 Position High Gain Engin. mode | 10.UMW
VBB 3 Position High Gain Engin. mode | 11.UMW
VBB 3 Position High Gain Engin. mode | 12.UMW
VBB 3 Position High Gain Engin. mode | 13.UMW
VBB 3 Position High Gain Engin. mode | 10.RMW
VBB 3 Position High Gain Engin. mode | 11.RMW
VBB 3 Position High Gain Engin. mode | 12.RMW
VBB 3 Position High Gain Engin. mode | 13.RMW
VBB 3 Position Low Gain Engin. mode | 15.LMW
VBB 3 Position Low Gain Engin. mode | 15.VMW
VBB 3 Position Low Gain Engin. mode | 16.VMW
VBB 3 Position Low Gain Engin. mode | 17.VMW
VBB 3 Position Low Gain Engin. mode | 18.VMW
VBB 3 Position Low Gain Engin. mode | 15.UMW
VBB 3 Position Low Gain Engin. mode | 16.UMW
VBB 3 Position Low Gain Engin. mode | 17.UMW
VBB 3 Position Low Gain Engin. mode | 18.UMW
VBB 3 Position Low Gain Engin. mode | 15.RMW
VBB 3 Position Low Gain Engin. mode | 16.RMW
VBB 3 Position Low Gain Engin. mode | 17.RMW
VBB 3 Position Low Gain Engin. mode | 18.RMW
VBB 3 Temperature | 00.LKW
VBB 3 Temperature | 00.VKW
VBB 3 Temperature | 01.VKW
VBB 3 Temperature | 02.VKW
VBB 3 Temperature | 03.VKW
VBB 3 Temperature | 00.UKW
VBB 3 Temperature | 01.UKW
VBB 3 Temperature | 02.UKW
VBB 3 Temperature | 03.UKW
VBB 3 Temperature | 00.RKW
VBB 3 Temperature | 01.RKW
VBB 3 Temperature | 02.RKW
VBB 3 Temperature | 03.RKW
Scientific Temperature A | 00.LKI
Scientific Temperature A | 00.VKI
Scientific Temperature A | 01.VKI
Scientific Temperature A | 02.VKI
Scientific Temperature A | 03.VKI
Scientific Temperature A | 00.UKI
Scientific Temperature A | 01.UKI
Scientific Temperature A | 02.UKI
Scientific Temperature A | 03.UKI
Scientific Temperature A | 00.RKI
Scientific Temperature A | 01.RKI
Scientific Temperature A | 02.RKI
Scientific Temperature A | 03.RKI
Scientific Temperature B | 05.LKI
Scientific Temperature B | 05.VKI
Scientific Temperature B | 06.VKI
Scientific Temperature B | 07.VKI
Scientific Temperature B | 08.VKI
Scientific Temperature B | 05.UKI
Scientific Temperature B | 06.UKI
Scientific Temperature B | 07.UKI
Scientific Temperature B | 08.UKI
Scientific Temperature B | 05.RKI
Scientific Temperature B | 06.RKI
Scientific Temperature B | 07.RKI
Scientific Temperature B | 08.RKI
Wind Horizontal Speed - sensor 1 | 10.LWS
Wind Horizontal Speed - sensor 1 | 10.VWS
Wind Horizontal Speed - sensor 1 | 11.VWS
Wind Horizontal Speed - sensor 1 | 12.VWS
Wind Horizontal Speed - sensor 1 | 13.VWS
Wind Horizontal Speed - sensor 1 | 10.UWS
Wind Horizontal Speed - sensor 1 | 11.UWS
Wind Horizontal Speed - sensor 1 | 12.UWS
Wind Horizontal Speed - sensor 1 | 13.UWS
Wind Horizontal Speed - sensor 1 | 10.RWS
Wind Horizontal Speed - sensor 1 | 11.RWS
Wind Horizontal Speed - sensor 1 | 12.RWS
Wind Horizontal Speed - sensor 1 | 13.RWS
Wind Vertical Speed - sensor 1 | 15.LWS
Wind Vertical Speed - sensor 1 | 15.VWS
Wind Vertical Speed - sensor 1 | 16.VWS
Wind Vertical Speed - sensor 1 | 17.VWS
Wind Vertical Speed - sensor 1 | 18.VWS
Wind Vertical Speed - sensor 1 | 15.UWS
Wind Vertical Speed - sensor 1 | 16.UWS
Wind Vertical Speed - sensor 1 | 17.UWS
Wind Vertical Speed - sensor 1 | 18.UWS
Wind Vertical Speed - sensor 1 | 15.RWS
Wind Vertical Speed - sensor 1 | 16.RWS
Wind Vertical Speed - sensor 1 | 17.RWS
Wind Vertical Speed - sensor 1 | 18.RWS
Wind Direction - sensor 1 | 10.LWD
Wind Direction - sensor 1 | 10.VWD
Wind Direction - sensor 1 | 11.VWD
Wind Direction - sensor 1 | 12.VWD
Wind Direction - sensor 1 | 13.VWD
Wind Direction - sensor 1 | 10.UWD
Wind Direction - sensor 1 | 11.UWD
Wind Direction - sensor 1 | 12.UWD
Wind Direction - sensor 1 | 13.UWD
Wind Direction - sensor 1 | 10.RWD
Wind Direction - sensor 1 | 11.RWD
Wind Direction - sensor 1 | 12.RWD
Wind Direction - sensor 1 | 13.RWD
Atmosphere Temperature - sensor 1 | 10.LKO
Atmosphere Temperature - sensor 1 | 10.VKO
Atmosphere Temperature - sensor 1 | 11.VKO
Atmosphere Temperature - sensor 1 | 12.VKO
Atmosphere Temperature - sensor 1 | 13.VKO
Atmosphere Temperature - sensor 1 | 10.UKO
Atmosphere Temperature - sensor 1 | 11.UKO
Atmosphere Temperature - sensor 1 | 12.UKO
Atmosphere Temperature - sensor 1 | 13.UKO
Atmosphere Temperature - sensor 1 | 10.RKO
Atmosphere Temperature - sensor 1 | 11.RKO
Atmosphere Temperature - sensor 1 | 12.RKO
Atmosphere Temperature - sensor 1 | 13.RKO
Wind Horizontal Speed - sensor 2 | 20.LWS
Wind Horizontal Speed - sensor 2 | 20.VWS
Wind Horizontal Speed - sensor 2 | 21.VWS
Wind Horizontal Speed - sensor 2 | 22.VWS
Wind Horizontal Speed - sensor 2 | 23.VWS
Wind Horizontal Speed - sensor 2 | 20.UWS
Wind Horizontal Speed - sensor 2 | 21.UWS
Wind Horizontal Speed - sensor 2 | 22.UWS
Wind Horizontal Speed - sensor 2 | 23.UWS
Wind Horizontal Speed - sensor 2 | 20.RWS
Wind Horizontal Speed - sensor 2 | 21.RWS
Wind Horizontal Speed - sensor 2 | 22.RWS
Wind Horizontal Speed - sensor 2 | 23.RWS
Wind Vertical Speed - sensor 2 | 25.LWS
Wind Vertical Speed - sensor 2 | 25.VWS
Wind Vertical Speed - sensor 2 | 26.VWS
Wind Vertical Speed - sensor 2 | 27.VWS
Wind Vertical Speed - sensor 2 | 28.VWS
Wind Vertical Speed - sensor 2 | 25.UWS
Wind Vertical Speed - sensor 2 | 26.UWS
Wind Vertical Speed - sensor 2 | 27.UWS
Wind Vertical Speed - sensor 2 | 28.UWS
Wind Vertical Speed - sensor 2 | 25.RWS
Wind Vertical Speed - sensor 2 | 26.RWS
Wind Vertical Speed - sensor 2 | 27.RWS
Wind Vertical Speed - sensor 2 | 28.RWS
Wind Direction - sensor 2 | 20.LWD
Wind Direction - sensor 2 | 20.VWD
Wind Direction - sensor 2 | 21.VWD
Wind Direction - sensor 2 | 22.VWD
Wind Direction - sensor 2 | 23.VWD
Wind Direction - sensor 2 | 20.UWD
Wind Direction - sensor 2 | 21.UWD
Wind Direction - sensor 2 | 22.UWD
Wind Direction - sensor 2 | 23.UWD
Wind Direction - sensor 2 | 20.RWD
Wind Direction - sensor 2 | 21.RWD
Wind Direction - sensor 2 | 22.RWD
Wind Direction - sensor 2 | 23.RWD
Atmosphere Temperature - sensor 2 | 20.LKO
Atmosphere Temperature - sensor 2 | 20.VKO
Atmosphere Temperature - sensor 2 | 21.VKO
Atmosphere Temperature - sensor 2 | 22.VKO
Atmosphere Temperature - sensor 2 | 23.VKO
Atmosphere Temperature - sensor 2 | 20.UKO
Atmosphere Temperature - sensor 2 | 21.UKO
Atmosphere Temperature - sensor 2 | 22.UKO
Atmosphere Temperature - sensor 2 | 23.UKO
Atmosphere Temperature - sensor 2 | 20.RKO
Atmosphere Temperature - sensor 2 | 21.RKO
Atmosphere Temperature - sensor 2 | 22.RKO
Atmosphere Temperature - sensor 2 | 23.RKO
Wind Horizontal Speed - Composite | 30.LWS
Wind Horizontal Speed - Composite | 30.VWS
Wind Horizontal Speed - Composite | 31.VWS
Wind Horizontal Speed - Composite | 32.VWS
Wind Horizontal Speed - Composite | 33.VWS
Wind Horizontal Speed - Composite | 30.UWS
Wind Horizontal Speed - Composite | 31.UWS
Wind Horizontal Speed - Composite | 32.UWS
Wind Horizontal Speed - Composite | 33.UWS
Wind Horizontal Speed - Composite | 30.RWS
Wind Horizontal Speed - Composite | 31.RWS
Wind Horizontal Speed - Composite | 32.RWS
Wind Horizontal Speed - Composite | 33.RWS
Wind Vertical Speed - Composite | 35.LWS
Wind Vertical Speed - Composite | 35.VWS
Wind Vertical Speed - Composite | 36.VWS
Wind Vertical Speed - Composite | 37.VWS
Wind Vertical Speed - Composite | 38.VWS
Wind Vertical Speed - Composite | 35.UWS
Wind Vertical Speed - Composite | 36.UWS
Wind Vertical Speed - Composite | 37.UWS
Wind Vertical Speed - Composite | 38.UWS
Wind Vertical Speed - Composite | 35.RWS
Wind Vertical Speed - Composite | 36.RWS
Wind Vertical Speed - Composite | 37.RWS
Wind Vertical Speed - Composite | 38.RWS
Wind Direction - Composite | 30.LWD
Wind Direction - Composite | 30.VWD
Wind Direction - Composite | 31.VWD
Wind Direction - Composite | 32.VWD
Wind Direction - Composite | 33.VWD
Wind Direction - Composite | 30.UWD
Wind Direction - Composite | 31.UWD
Wind Direction - Composite | 32.UWD
Wind Direction - Composite | 33.UWD
Wind Direction - Composite | 30.RWD
Wind Direction - Composite | 31.RWD
Wind Direction - Composite | 32.RWD
Wind Direction - Composite | 33.RWD
Atmosphere Temperature - Composite | 30.LKO
Atmosphere Temperature - Composite | 30.VKO
Atmosphere Temperature - Composite | 31.VKO
Atmosphere Temperature - Composite | 32.VKO
Atmosphere Temperature - Composite | 33.VKO
Atmosphere Temperature - Composite | 30.UKO
Atmosphere Temperature - Composite | 31.UKO
Atmosphere Temperature - Composite | 32.UKO
Atmosphere Temperature - Composite | 33.UKO
Atmosphere Temperature - Composite | 30.RKO
Atmosphere Temperature - Composite | 31.RKO
Atmosphere Temperature - Composite | 32.RKO
Atmosphere Temperature - Composite | 33.RKO
Pressure (Outside) | 00.BDO
Pressure (Outside) | 01.BDO
Pressure (Outside) | 02.BDO
Pressure (Outside) | 03.BDO
Pressure (Outside) | 00.MDO
Pressure (Outside) | 01.MDO
Pressure (Outside) | 02.MDO
Pressure (Outside) | 00.LDO
Pressure (Outside) | 00.VDO
Pressure (Outside) | 01.VDO
Pressure (Outside) | 02.VDO
Pressure (Outside) | 03.VDO
Pressure (Outside) | 00.UDO
Pressure (Outside) | 01.UDO
Pressure (Outside) | 02.UDO
Pressure (Outside) | 03.UDO
Pressure (Outside) | 00.RDO
Pressure (Outside) | 01.RDO
Pressure (Outside) | 02.RDO
Pressure (Outside) | 03.RDO
Pressure Sensor Temperature (Inside) | 10.BKI
Pressure Sensor Temperature (Inside) | 11.BKI
Pressure Sensor Temperature (Inside) | 12.BKI
Pressure Sensor Temperature (Inside) | 13.BKI
Pressure Sensor Temperature (Inside) | 10.MKI
Pressure Sensor Temperature (Inside) | 11.MKI
Pressure Sensor Temperature (Inside) | 12.MKI
Pressure Sensor Temperature (Inside) | 10.LKI
Pressure Sensor Temperature (Inside) | 10.VKI
Pressure Sensor Temperature (Inside) | 11.VKI
Pressure Sensor Temperature (Inside) | 12.VKI
Pressure Sensor Temperature (Inside) | 13.VKI
Pressure Sensor Temperature (Inside) | 10.UKI
Pressure Sensor Temperature (Inside) | 11.UKI
Pressure Sensor Temperature (Inside) | 12.UKI
Pressure Sensor Temperature (Inside) | 13.UKI
Pressure Sensor Temperature (Inside) | 10.RKI
Pressure Sensor Temperature (Inside) | 11.RKI
Pressure Sensor Temperature (Inside) | 12.RKI
Pressure Sensor Temperature (Inside) | 13.RKI
Magnetomer1 | 00.BF1
Magnetomer1 | 01.BF1
Magnetomer1 | 02.BF1
Magnetomer1 | 03.BF1
Magnetomer1 | 00.MF1
Magnetomer1 | 01.MF1
Magnetomer1 | 02.MF1
Magnetomer1 | 00.LF1
Magnetomer1 | 00.VF1
Magnetomer1 | 01.VF1
Magnetomer1 | 02.VF1
Magnetomer1 | 03.VF1
Magnetomer1 | 00.UF1
Magnetomer1 | 01.UF1
Magnetomer1 | 02.UF1
Magnetomer1 | 03.UF1
Magnetomer1 | 00.RF1
Magnetomer1 | 01.RF1
Magnetomer1 | 02.RF1
Magnetomer1 | 03.RF1
Magnetomer2 | 00.BF2
Magnetomer2 | 01.BF2
Magnetomer2 | 02.BF2
Magnetomer2 | 03.BF2
Magnetomer2 | 00.MF2
Magnetomer2 | 01.MF2
Magnetomer2 | 02.MF2
Magnetomer2 | 00.LF2
Magnetomer2 | 00.VF2
Magnetomer2 | 01.VF2
Magnetomer2 | 02.VF2
Magnetomer2 | 03.VF2
Magnetomer2 | 00.UF2
Magnetomer2 | 01.UF2
Magnetomer2 | 02.UF2
Magnetomer2 | 03.UF2
Magnetomer2 | 00.RF2
Magnetomer2 | 01.RF2
Magnetomer2 | 02.RF2
Magnetomer2 | 03.RF2
Magnetomer3 | 00.BF3
Magnetomer3 | 01.BF3
Magnetomer3 | 02.BF3
Magnetomer3 | 03.BF3
Magnetomer3 | 00.MF3
Magnetomer3 | 01.MF3
Magnetomer3 | 02.MF3
Magnetomer3 | 00.LF3
Magnetomer3 | 00.VF3
Magnetomer3 | 01.VF3
Magnetomer3 | 02.VF3
Magnetomer3 | 03.VF3
Magnetomer3 | 00.UF3
Magnetomer3 | 01.UF3
Magnetomer3 | 02.UF3
Magnetomer3 | 03.UF3
Magnetomer3 | 00.RF3
Magnetomer3 | 01.RF3
Magnetomer3 | 02.RF3
Magnetomer3 | 03.RF3
Magnetometer temperature | 00.BKM
Magnetometer temperature | 01.BKM
Magnetometer temperature | 02.BKM
Magnetometer temperature | 03.BKM
Magnetometer temperature | 00.MKM
Magnetometer temperature | 01.MKM
Magnetometer temperature | 02.MKM
Magnetometer temperature | 00.LKM
Magnetometer temperature | 00.VKM
Magnetometer temperature | 01.VKM
Magnetometer temperature | 02.VKM
Magnetometer temperature | 03.VKM
Magnetometer temperature | 00.UKM
Magnetometer temperature | 01.UKM
Magnetometer temperature | 02.UKM
Magnetometer temperature | 03.UKM
Magnetometer temperature | 00.RKM
Magnetometer temperature | 01.RKM
Magnetometer temperature | 02.RKM
Magnetometer temperature | 03.RKM
SP1 (High Gain) | 65.EHU
SP1 (High Gain) | 65.SHU
SP1 (High Gain) | 66.SHU
SP1 (High Gain) | 67.SHU
SP1 (High Gain) | 68.SHU
SP1 (High Gain) | 65.MHU
SP1 (High Gain) | 66.MHU
SP1 (High Gain) | 67.MHU
SP1 (High Gain) | 68.LHU
SP1 (High Gain) | 65.VHU
SP1 (High Gain) | 66.VHU
SP1 (High Gain) | 67.VHU
SP1 (High Gain) | 68.VHU
SP1 (High Gain) | 65.UHU
SP1 (High Gain) | 66.UHU
SP1 (High Gain) | 67.UHU
SP1 (High Gain) | 68.UHU
SP1 (High Gain) | 65.RHU
SP1 (High Gain) | 66.RHU
SP1 (High Gain) | 67.RHU
SP1 (High Gain) | 68.RHU
SP2 (High Gain) | 65.EHV
SP2 (High Gain) | 65.SHV
SP2 (High Gain) | 66.SHV
SP2 (High Gain) | 67.SHV
SP2 (High Gain) | 68.SHV
SP2 (High Gain) | 65.MHV
SP2 (High Gain) | 66.MHV
SP2 (High Gain) | 67.MHV
SP2 (High Gain) | 68.LHV
SP2 (High Gain) | 65.VHV
SP2 (High Gain) | 66.VHV
SP2 (High Gain) | 67.VHV
SP2 (High Gain) | 68.VHV
SP2 (High Gain) | 65.UHV
SP2 (High Gain) | 66.UHV
SP2 (High Gain) | 67.UHV
SP2 (High Gain) | 68.UHV
SP2 (High Gain) | 65.RHV
SP2 (High Gain) | 66.RHV
SP2 (High Gain) | 67.RHV
SP2 (High Gain) | 68.RHV
SP3 (High Gain) | 65.EHW
SP3 (High Gain) | 65.SHW
SP3 (High Gain) | 66.SHW
SP3 (High Gain) | 67.SHW
SP3 (High Gain) | 68.SHW
SP3 (High Gain) | 65.MHW
SP3 (High Gain) | 66.MHW
SP3 (High Gain) | 67.MHW
SP3 (High Gain) | 68.LHW
SP3 (High Gain) | 65.VHW
SP3 (High Gain) | 66.VHW
SP3 (High Gain) | 67.VHW
SP3 (High Gain) | 68.VHW
SP3 (High Gain) | 65.UHW
SP3 (High Gain) | 66.UHW
SP3 (High Gain) | 67.UHW
SP3 (High Gain) | 68.UHW
SP3 (High Gain) | 65.RHW
SP3 (High Gain) | 66.RHW
SP3 (High Gain) | 67.RHW
SP3 (High Gain) | 68.RHW
SP1 ( Low Gain) | 70.EHU
SP1 ( Low Gain) | 70.SHU
SP1 ( Low Gain) | 71.SHU
SP1 ( Low Gain) | 72.SHU
SP1 ( Low Gain) | 73.SHU
SP1 ( Low Gain) | 70.MHU
SP1 ( Low Gain) | 71.MHU
SP1 ( Low Gain) | 72.MHU
SP1 ( Low Gain) | 73.LHU
SP1 ( Low Gain) | 70.VHU
SP1 ( Low Gain) | 71.VHU
SP1 ( Low Gain) | 72.VHU
SP1 ( Low Gain) | 73.VHU
SP1 ( Low Gain) | 70.UHU
SP1 ( Low Gain) | 71.UHU
SP1 ( Low Gain) | 72.UHU
SP1 ( Low Gain) | 73.UHU
SP1 ( Low Gain) | 70.RHU
SP1 ( Low Gain) | 71.RHU
SP1 ( Low Gain) | 72.RHU
SP1 ( Low Gain) | 73.RHU
SP2 (Low Gain) | 70.EHV
SP2 (Low Gain) | 70.SHV
SP2 (Low Gain) | 71.SHV
SP2 (Low Gain) | 72.SHV
SP2 (Low Gain) | 73.SHV
SP2 (Low Gain) | 70.MHV
SP2 (Low Gain) | 71.MHV
SP2 (Low Gain) | 72.MHV
SP2 (Low Gain) | 73.LHV
SP2 (Low Gain) | 70.VHV
SP2 (Low Gain) | 71.VHV
SP2 (Low Gain) | 72.VHV
SP2 (Low Gain) | 73.VHV
SP2 (Low Gain) | 70.UHV
SP2 (Low Gain) | 71.UHV
SP2 (Low Gain) | 72.UHV
SP2 (Low Gain) | 73.UHV
SP2 (Low Gain) | 70.RHV
SP2 (Low Gain) | 71.RHV
SP2 (Low Gain) | 72.RHV
SP2 (Low Gain) | 73.RHV
SP3 (Low Gain) | 70.EHW
SP3 (Low Gain) | 70.SHW
SP3 (Low Gain) | 71.SHW
SP3 (Low Gain) | 72.SHW
SP3 (Low Gain) | 73.SHW
SP3 (Low Gain) | 70.MHW
SP3 (Low Gain) | 71.MHW
SP3 (Low Gain) | 72.MHW
SP3 (Low Gain) | 73.LHW
SP3 (Low Gain) | 70.VHW
SP3 (Low Gain) | 71.VHW
SP3 (Low Gain) | 72.VHW
SP3 (Low Gain) | 73.VHW
SP3 (Low Gain) | 70.UHW
SP3 (Low Gain) | 71.UHW
SP3 (Low Gain) | 72.UHW
SP3 (Low Gain) | 73.UHW
SP3 (Low Gain) | 70.RHW
SP3 (Low Gain) | 71.RHW
SP3 (Low Gain) | 72.RHW
SP3 (Low Gain) | 73.RHW
SEISVELZ | 55.HZC
SEISVELZ | 55.BZC
SEISVELZ | 56.BZC
SEISVELZ | 57.BZC
SEISVELZ | 58.BZC
SEISVELZ | 55.MZC
SEISVELZ | 56.MZC
SEISVELZ | 57.MZC
SEISVELZ | 58.LZC
SEISVELZ | 55.VZC
SEISVELZ | 56.VZC
SEISVELZ | 57.VZC
SEISVELZ | 58.VZC
SEISVELZ | 55.UZC
SEISVELZ | 56.UZC
SEISVELZ | 57.UZC
SEISVELZ | 58.UZC
SEISVELZ | 55.RZC
SEISVELZ | 56.RZC
SEISVELZ | 57.RZC
SEISVELZ | 58.RZC
SPZ | 75.EZC
SPZ | 75.SZC
SPZ | 76.SZC
SPZ | 77.SZC
SPZ | 78.SZC
SPZ | 75.MZC
SPZ | 76.MZC
SPZ | 77.MZC
SPZ | 78.LZC
SPZ | 75.VZC
SPZ | 76.VZC
SPZ | 77.VZC
SPZ | 78.VZC
SPZ | 75.UZC
SPZ | 76.UZC
SPZ | 77.UZC
SPZ | 78.UZC
SPZ | 75.RZC
SPZ | 76.RZC
SPZ | 77.RZC
SPZ | 78.RZC
VBBR | 80.HZC
VBBR | 80.BZC
VBBR | 81.BZC
VBBR | 82.BZC
VBBR | 83.BZC
VBBR | 80.MZC
VBBR | 81.MZC
VBBR | 82.MZC
VBBR | 83.LZC
VBBR | 80.VZC
VBBR | 81.VZC
VBBR | 82.VZC
VBBR | 83.VZC
VBBR | 80.UZC
VBBR | 81.UZC
VBBR | 82.UZC
VBBR | 83.UZC
VBBR | 80.RZC
VBBR | 81.RZC
VBBR | 82.RZC
VBBR | 83.RZC
SPR | 20.HZC
SPR | 20.BZC
SPR | 21.BZC
SPR | 22.BZC
SPR | 23.BZC
SPR | 20.MZC
SPR | 21.MZC
SPR | 22.MZC
SPR | 23.LZC
SPR | 20.VZC
SPR | 21.VZC
SPR | 22.VZC
SPR | 23.VZC
SPR | 20.UZC
SPR | 21.UZC
SPR | 22.UZC
SPR | 23.UZC
SPR | 20.RZC
SPR | 21.RZC
SPR | 22.RZC
SPR | 23.RZC
ESTAVBB | 40.LHZ
ESTAVBB | 40.VHZ
ESTAVBB | 41.VHZ
ESTAVBB | 42.VHZ
ESTAVBB | 43.VHZ
ESTAVBB | 40.UHZ
ESTAVBB | 41.UHZ
ESTAVBB | 42.UHZ
ESTAVBB | 43.UHZ
ESTAVBB | 40.RHZ
ESTAVBB | 41.RHZ
ESTAVBB | 42.RHZ
ESTAVBB | 43.RHZ
MAXVBB | 45.LYZ
MAXVBB | 45.VYZ
MAXVBB | 46.VYZ
MAXVBB | 47.VYZ
MAXVBB | 48.VYZ
MAXVBB | 45.UYZ
MAXVBB | 46.UYZ
MAXVBB | 47.UYZ
MAXVBB | 48.UYZ
MAXVBB | 45.RYZ
MAXVBB | 46.RYZ
MAXVBB | 47.RYZ
MAXVBB | 48.RYZ
ESTASP | 85.LLZ
ESTASP | 85.VLZ
ESTASP | 86.VLZ
ESTASP | 87.VLZ
ESTASP | 88.VLZ
ESTASP | 85.ULZ
ESTASP | 86.ULZ
ESTASP | 87.ULZ
ESTASP | 88.ULZ
ESTASP | 85.RLZ
ESTASP | 86.RLZ
ESTASP | 87.RLZ
ESTASP | 88.RLZ
MAXSP | 90.LYZ
MAXSP | 90.VYZ
MAXSP | 91.VYZ
MAXSP | 92.VYZ
MAXSP | 93.VYZ
MAXSP | 90.UYZ
MAXSP | 91.UYZ
MAXSP | 92.UYZ
MAXSP | 93.UYZ
MAXSP | 90.RYZ
MAXSP | 91.RYZ
MAXSP | 92.RYZ
MAXSP | 93.RYZ
MAGZ | 20.BFR
MAGZ | 21.BFR
MAGZ | 22.BFR
MAGZ | 23.BFR
MAGZ | 20.MFR
MAGZ | 21.MFR
MAGZ | 22.MFR
MAGZ | 20.LFR
MAGZ | 20.VFR
MAGZ | 21.VFR
MAGZ | 22.VFR
MAGZ | 23.VFR
MAGZ | 20.UFR
MAGZ | 21.UFR
MAGZ | 22.UFR
MAGZ | 23.UFR
MAGZ | 20.RFR
MAGZ | 21.RFR
MAGZ | 22.RFR
MAGZ | 23.RFR
ESTAP1 | 50.LDO
ESTAP1 | 50.VDO
ESTAP1 | 51.VDO
ESTAP1 | 52.VDO
ESTAP1 | 53.VDO
ESTAP1 | 50.UDO
ESTAP1 | 51.UDO
ESTAP1 | 52.UDO
ESTAP1 | 53.UDO
ESTAP1 | 50.RDO
ESTAP1 | 51.RDO
ESTAP1 | 52.RDO
ESTAP1 | 53.RDO
ESTAP2 | 60.LDO
ESTAP2 | 60.VDO
ESTAP2 | 61.VDO
ESTAP2 | 62.VDO
ESTAP2 | 63.VDO
ESTAP2 | 60.UDO
ESTAP2 | 61.UDO
ESTAP2 | 62.UDO
ESTAP2 | 63.UDO
ESTAP2 | 60.RDO
ESTAP2 | 61.RDO
ESTAP2 | 62.RDO
ESTAP2 | 63.RDO
MAXP1 | 70.LYO
MAXP1 | 70.VYO
MAXP1 | 71.VYO
MAXP1 | 72.VYO
MAXP1 | 73.VYO
MAXP1 | 70.UYO
MAXP1 | 71.UYO
MAXP1 | 72.UYO
MAXP1 | 73.UYO
MAXP1 | 70.RYO
MAXP1 | 71.RYO
MAXP1 | 72.RYO
MAXP1 | 73.RYO
MAXP2 | 80.LYO
MAXP2 | 80.VYO
MAXP2 | 81.VYO
MAXP2 | 82.VYO
MAXP2 | 83.VYO
MAXP2 | 80.UYO
MAXP2 | 81.UYO
MAXP2 | 82.UYO
MAXP2 | 83.UYO
MAXP2 | 80.RYO
MAXP2 | 81.RYO
MAXP2 | 82.RYO
MAXP2 | 83.RYO
ESTAM | 30.LFA
ESTAM | 30.VFA
ESTAM | 31.VFA
ESTAM | 32.VFA
ESTAM | 33.VFA
ESTAM | 30.UFA
ESTAM | 31.UFA
ESTAM | 32.UFA
ESTAM | 33.UFA
ESTAM | 30.RFA
ESTAM | 31.RFA
ESTAM | 32.RFA
ESTAM | 33.RFA
MAXM | 40.LYA
MAXM | 40.VYA
MAXM | 41.VYA
MAXM | 42.VYA
MAXM | 43.VYA
MAXM | 40.UYA
MAXM | 41.UYA
MAXM | 42.UYA
MAXM | 43.UYA
MAXM | 40.RYA
MAXM | 41.RYA
MAXM | 42.RYA
MAXM | 43.RYA

## both
Pressure (Outside) | 00.BDO
Magnetomer1 | 00.BF1
Magnetomer2 | 00.BF2
Magnetomer3 | 00.BF3
VBB 1 Velocity High Gain Science mode | 00.BHU
VBB 1 Velocity High Gain Science mode | 00.BHV
VBB 1 Velocity High Gain Science mode | 00.BHW
Magnetometer temperature | 00.BKM
VBB 1 Velocity High Gain Science mode | 00.HHU
VBB 2 Velocity High Gain Science mode | 00.HHV
VBB 3 Velocity High Gain Science mode | 00.HHW
VBB 3 Velocity High Gain Science mode | 00.LDO
VBB 3 Velocity High Gain Science mode | 00.LF1
VBB 3 Velocity High Gain Science mode | 00.LF2
VBB 3 Velocity High Gain Science mode | 00.LF3
VBB 1 Velocity High Gain Science mode | 00.LHU
VBB 1 Velocity High Gain Science mode | 00.LHV
VBB 1 Velocity High Gain Science mode | 00.LHW
Scientific Temperature A | 00.LKI
Scientific Temperature A | 00.LKM
VBB 1 Temperature | 00.LKU
VBB 2 Temperature | 00.LKV
VBB 3 Temperature | 00.LKW
VBB 1 Position High Gain Science mode | 00.LMU
VBB 2 Position High Gain Science mode | 00.LMV
VBB 3 Position High Gain Science mode | 00.LMW
VBB 3 Position High Gain Science mode | 00.MDO
VBB 3 Position High Gain Science mode | 00.MF1
VBB 3 Position High Gain Science mode | 00.MF2
VBB 3 Position High Gain Science mode | 00.MF3
VBB 1 Velocity High Gain Science mode | 00.MHU
VBB 1 Velocity High Gain Science mode | 00.MHV
VBB 1 Velocity High Gain Science mode | 00.MHW
VBB 1 Velocity High Gain Science mode | 00.MKM
VBB 1 Velocity High Gain Science mode | 00.RDO
VBB 1 Velocity High Gain Science mode | 00.RF1
VBB 1 Velocity High Gain Science mode | 00.RF2
VBB 1 Velocity High Gain Science mode | 00.RF3
VBB 1 Velocity High Gain Science mode | 00.RKI
VBB 1 Velocity High Gain Science mode | 00.RKM
VBB 1 Velocity High Gain Science mode | 00.RKU
VBB 1 Velocity High Gain Science mode | 00.RKV
VBB 1 Velocity High Gain Science mode | 00.RKW
VBB 1 Velocity High Gain Science mode | 00.RMU
VBB 1 Velocity High Gain Science mode | 00.RMV
VBB 1 Velocity High Gain Science mode | 00.RMW
VBB 1 Velocity High Gain Science mode | 00.UDO
VBB 1 Velocity High Gain Science mode | 00.UF1
VBB 1 Velocity High Gain Science mode | 00.UF2
VBB 1 Velocity High Gain Science mode | 00.UF3
VBB 1 Velocity High Gain Science mode | 00.UKI
VBB 1 Velocity High Gain Science mode | 00.UKM
VBB 1 Velocity High Gain Science mode | 00.UKU
VBB 1 Velocity High Gain Science mode | 00.UKV
VBB 1 Velocity High Gain Science mode | 00.UKW
VBB 1 Velocity High Gain Science mode | 00.UMU
VBB 1 Velocity High Gain Science mode | 00.UMV
VBB 1 Velocity High Gain Science mode | 00.UMW
VBB 1 Velocity High Gain Science mode | 00.VDO
VBB 1 Velocity High Gain Science mode | 00.VF1
VBB 1 Velocity High Gain Science mode | 00.VF2
VBB 1 Velocity High Gain Science mode | 00.VF3
VBB 1 Velocity High Gain Science mode | 00.VKI
VBB 1 Velocity High Gain Science mode | 00.VKM
VBB 1 Velocity High Gain Science mode | 00.VKU
VBB 1 Velocity High Gain Science mode | 00.VKV
VBB 1 Velocity High Gain Science mode | 00.VKW
VBB 1 Velocity High Gain Science mode | 00.VMU
VBB 1 Velocity High Gain Science mode | 00.VMV
VBB 1 Velocity High Gain Science mode | 00.VMW
VBB 1 Velocity High Gain Science mode | 01.BDO
VBB 1 Velocity High Gain Science mode | 01.BF1
VBB 1 Velocity High Gain Science mode | 01.BF2
VBB 1 Velocity High Gain Science mode | 01.BF3
VBB 1 Velocity High Gain Science mode | 01.BHU
VBB 1 Velocity High Gain Science mode | 01.BHV
VBB 1 Velocity High Gain Science mode | 01.BHW
VBB 1 Velocity High Gain Science mode | 01.BKM
VBB 1 Velocity High Gain Science mode | 01.MDO
VBB 1 Velocity High Gain Science mode | 01.MF1
VBB 1 Velocity High Gain Science mode | 01.MF2
VBB 1 Velocity High Gain Science mode | 01.MF3
VBB 1 Velocity High Gain Science mode | 01.MHU
VBB 1 Velocity High Gain Science mode | 01.MHV
VBB 1 Velocity High Gain Science mode | 01.MHW
VBB 1 Velocity High Gain Science mode | 01.MKM
VBB 1 Velocity High Gain Science mode | 01.RDO
VBB 1 Velocity High Gain Science mode | 01.RF1
VBB 1 Velocity High Gain Science mode | 01.RF2
VBB 1 Velocity High Gain Science mode | 01.RF3
VBB 1 Velocity High Gain Science mode | 01.RKI
VBB 1 Velocity High Gain Science mode | 01.RKM
VBB 1 Velocity High Gain Science mode | 01.RKU
VBB 1 Velocity High Gain Science mode | 01.RKV
VBB 1 Velocity High Gain Science mode | 01.RKW
VBB 1 Velocity High Gain Science mode | 01.RMU
VBB 1 Velocity High Gain Science mode | 01.RMV
VBB 1 Velocity High Gain Science mode | 01.RMW
VBB 1 Velocity High Gain Science mode | 01.UDO
VBB 1 Velocity High Gain Science mode | 01.UF1
VBB 1 Velocity High Gain Science mode | 01.UF2
VBB 1 Velocity High Gain Science mode | 01.UF3
VBB 1 Velocity High Gain Science mode | 01.UKI
VBB 1 Velocity High Gain Science mode | 01.UKM
VBB 1 Velocity High Gain Science mode | 01.UKU
VBB 1 Velocity High Gain Science mode | 01.UKV
VBB 1 Velocity High Gain Science mode | 01.UKW
VBB 1 Velocity High Gain Science mode | 01.UMU
VBB 1 Velocity High Gain Science mode | 01.UMV
VBB 1 Velocity High Gain Science mode | 01.UMW
VBB 1 Velocity High Gain Science mode | 01.VDO
VBB 1 Velocity High Gain Science mode | 01.VF1
VBB 1 Velocity High Gain Science mode | 01.VF2
VBB 1 Velocity High Gain Science mode | 01.VF3
VBB 1 Velocity High Gain Science mode | 01.VKI
VBB 1 Velocity High Gain Science mode | 01.VKM
VBB 1 Velocity High Gain Science mode | 01.VKU
VBB 1 Velocity High Gain Science mode | 01.VKV
VBB 1 Velocity High Gain Science mode | 01.VKW
VBB 1 Velocity High Gain Science mode | 01.VMU
VBB 1 Velocity High Gain Science mode | 01.VMV
VBB 1 Velocity High Gain Science mode | 01.VMW
VBB 1 Velocity High Gain Science mode | 02.BDO
VBB 1 Velocity High Gain Science mode | 02.BF1
VBB 1 Velocity High Gain Science mode | 02.BF2
VBB 1 Velocity High Gain Science mode | 02.BF3
VBB 1 Velocity High Gain Science mode | 02.BHU
VBB 1 Velocity High Gain Science mode | 02.BHV
VBB 1 Velocity High Gain Science mode | 02.BHW
VBB 1 Velocity High Gain Science mode | 02.BKM
SP-HK1-MPOS1 | 02.LMA
SP-HK1-MPOS1 | 02.MDO
SP-HK1-MPOS1 | 02.MF1
SP-HK1-MPOS1 | 02.MF2
SP-HK1-MPOS1 | 02.MF3
VBB 1 Velocity High Gain Science mode | 02.MHU
VBB 1 Velocity High Gain Science mode | 02.MHV
VBB 1 Velocity High Gain Science mode | 02.MHW
VBB 1 Velocity High Gain Science mode | 02.MKM
VBB 1 Velocity High Gain Science mode | 02.RDO
VBB 1 Velocity High Gain Science mode | 02.RF1
VBB 1 Velocity High Gain Science mode | 02.RF2
VBB 1 Velocity High Gain Science mode | 02.RF3
VBB 1 Velocity High Gain Science mode | 02.RKI
VBB 1 Velocity High Gain Science mode | 02.RKM
VBB 1 Velocity High Gain Science mode | 02.RKU
VBB 1 Velocity High Gain Science mode | 02.RKV
VBB 1 Velocity High Gain Science mode | 02.RKW
VBB 1 Velocity High Gain Science mode | 02.RMU
VBB 1 Velocity High Gain Science mode | 02.RMV
VBB 1 Velocity High Gain Science mode | 02.RMW
VBB 1 Velocity High Gain Science mode | 02.UDO
VBB 1 Velocity High Gain Science mode | 02.UF1
VBB 1 Velocity High Gain Science mode | 02.UF2
VBB 1 Velocity High Gain Science mode | 02.UF3
VBB 1 Velocity High Gain Science mode | 02.UKI
VBB 1 Velocity High Gain Science mode | 02.UKM
VBB 1 Velocity High Gain Science mode | 02.UKU
VBB 1 Velocity High Gain Science mode | 02.UKV
VBB 1 Velocity High Gain Science mode | 02.UKW
SP-HK1-MPOS2 | 02.UMA
SP-HK1-MPOS2 | 02.UMU
SP-HK1-MPOS2 | 02.UMV
SP-HK1-MPOS2 | 02.UMW
SP-HK1-MPOS2 | 02.VDO
SP-HK1-MPOS2 | 02.VF1
SP-HK1-MPOS2 | 02.VF2
SP-HK1-MPOS2 | 02.VF3
SP-HK1-MPOS2 | 02.VKI
SP-HK1-MPOS2 | 02.VKM
SP-HK1-MPOS2 | 02.VKU
SP-HK1-MPOS2 | 02.VKV
SP-HK1-MPOS2 | 02.VKW
SP-HK1-MPOS2 | 02.VMU
SP-HK1-MPOS2 | 02.VMV
SP-HK1-MPOS2 | 02.VMW
SP-HK1-MPOS2 | 03.BDO
SP-HK1-MPOS2 | 03.BF1
SP-HK1-MPOS2 | 03.BF2
SP-HK1-MPOS2 | 03.BF3
VBB 1 Velocity High Gain Science mode | 03.BHU
VBB 1 Velocity High Gain Science mode | 03.BHV
VBB 1 Velocity High Gain Science mode | 03.BHW
VBB 1 Velocity High Gain Science mode | 03.BKM
SP-HK2-MPOS1 | 03.LMA
SP-HK2-MPOS1 | 03.RDO
SP-HK2-MPOS1 | 03.RF1
SP-HK2-MPOS1 | 03.RF2
SP-HK2-MPOS1 | 03.RF3
SP-HK2-MPOS1 | 03.RKI
SP-HK2-MPOS1 | 03.RKM
SP-HK2-MPOS1 | 03.RKU
SP-HK2-MPOS1 | 03.RKV
SP-HK2-MPOS1 | 03.RKW
SP-HK2-MPOS1 | 03.RMU
SP-HK2-MPOS1 | 03.RMV
SP-HK2-MPOS1 | 03.RMW
SP-HK2-MPOS1 | 03.UDO
SP-HK2-MPOS1 | 03.UF1
SP-HK2-MPOS1 | 03.UF2
SP-HK2-MPOS1 | 03.UF3
SP-HK2-MPOS1 | 03.UKI
SP-HK2-MPOS1 | 03.UKM
SP-HK2-MPOS1 | 03.UKU
SP-HK2-MPOS1 | 03.UKV
SP-HK2-MPOS1 | 03.UKW
SP-HK2-MPOS2 | 03.UMA
SP-HK2-MPOS2 | 03.UMU
SP-HK2-MPOS2 | 03.UMV
SP-HK2-MPOS2 | 03.UMW
SP-HK2-MPOS2 | 03.VDO
SP-HK2-MPOS2 | 03.VF1
SP-HK2-MPOS2 | 03.VF2
SP-HK2-MPOS2 | 03.VF3
SP-HK2-MPOS2 | 03.VKI
SP-HK2-MPOS2 | 03.VKM
SP-HK2-MPOS2 | 03.VKU
SP-HK2-MPOS2 | 03.VKV
SP-HK2-MPOS2 | 03.VKW
SP-HK2-MPOS2 | 03.VMU
SP-HK2-MPOS2 | 03.VMV
SP-HK2-MPOS2 | 03.VMW
SEIS-DC+13VV | 04.LEV
SEIS-DC+13VV | 04.UEV
VBB 1 Velocity Low Gain Science mode | 05.BLU
VBB 1 Velocity Low Gain Science mode | 05.BLV
VBB 1 Velocity Low Gain Science mode | 05.BLW
VBB 1 Velocity Low Gain Science mode | 05.HLU
VBB 2 Velocity Low Gain Science mode | 05.HLV
VBB 3 Velocity Low Gain Science mode | 05.HLW
Scientific Temperature B | 05.LKI
VBB 1 Velocity Low Gain Science mode | 05.LLU
VBB 1 Velocity Low Gain Science mode | 05.LLV
VBB 1 Velocity Low Gain Science mode | 05.LLW
VBB 1 Position Low Gain Science mode | 05.LMU
VBB 2 Position Low Gain Science mode | 05.LMV
VBB 3 Position Low Gain Science mode | 05.LMW
CAL1-HKT | 05.LYO
VBB 1 Velocity Low Gain Science mode | 05.MLU
VBB 1 Velocity Low Gain Science mode | 05.MLV
VBB 1 Velocity Low Gain Science mode | 05.MLW
VBB 1 Velocity Low Gain Science mode | 05.RKI
VBB 1 Velocity Low Gain Science mode | 05.RMU
VBB 1 Velocity Low Gain Science mode | 05.RMV
VBB 1 Velocity Low Gain Science mode | 05.RMW
VBB 1 Velocity Low Gain Science mode | 05.UKI
VBB 1 Velocity Low Gain Science mode | 05.UMU
VBB 1 Velocity Low Gain Science mode | 05.UMV
VBB 1 Velocity Low Gain Science mode | 05.UMW
CAL1-HKT | 05.UYO
CAL1-HKT | 05.VKI
CAL1-HKT | 05.VMU
CAL1-HKT | 05.VMV
CAL1-HKT | 05.VMW
VBB 1 Velocity Low Gain Science mode | 06.BLU
VBB 1 Velocity Low Gain Science mode | 06.BLV
VBB 1 Velocity Low Gain Science mode | 06.BLW
SP-HK1-MPOS2 | 06.LMB
VBB 1 Velocity Low Gain Science mode | 06.MLU
VBB 1 Velocity Low Gain Science mode | 06.MLV
VBB 1 Velocity Low Gain Science mode | 06.MLW
VBB 1 Velocity Low Gain Science mode | 06.RKI
VBB 1 Velocity Low Gain Science mode | 06.RMU
VBB 1 Velocity Low Gain Science mode | 06.RMV
VBB 1 Velocity Low Gain Science mode | 06.RMW
VBB 1 Velocity Low Gain Science mode | 06.UKI
SP-HK1-MPOS3 | 06.UMB
SP-HK1-MPOS3 | 06.UMU
SP-HK1-MPOS3 | 06.UMV
SP-HK1-MPOS3 | 06.UMW
SP-HK1-MPOS3 | 06.VKI
SP-HK1-MPOS3 | 06.VMU
SP-HK1-MPOS3 | 06.VMV
SP-HK1-MPOS3 | 06.VMW
VBB 1 Velocity Low Gain Science mode | 07.BLU
VBB 1 Velocity Low Gain Science mode | 07.BLV
VBB 1 Velocity Low Gain Science mode | 07.BLW
SP-HK2-MPOS2 | 07.LMB
VBB 1 Velocity Low Gain Science mode | 07.MLU
VBB 1 Velocity Low Gain Science mode | 07.MLV
VBB 1 Velocity Low Gain Science mode | 07.MLW
VBB 1 Velocity Low Gain Science mode | 07.RKI
VBB 1 Velocity Low Gain Science mode | 07.RMU
VBB 1 Velocity Low Gain Science mode | 07.RMV
VBB 1 Velocity Low Gain Science mode | 07.RMW
VBB 1 Velocity Low Gain Science mode | 07.UKI
SP-HK2-MPOS2 | 07.UMB
SP-HK2-MPOS2 | 07.UMU
SP-HK2-MPOS2 | 07.UMV
SP-HK2-MPOS2 | 07.UMW
SP-HK2-MPOS2 | 07.VKI
SP-HK2-MPOS2 | 07.VMU
SP-HK2-MPOS2 | 07.VMV
SP-HK2-MPOS2 | 07.VMW
VBB 1 Velocity Low Gain Science mode | 08.BLU
VBB 1 Velocity Low Gain Science mode | 08.BLV
VBB 1 Velocity Low Gain Science mode | 08.BLW
SEIS-DC+15VA | 08.LEA
SEIS-DC+15VA | 08.RKI
SEIS-DC+15VA | 08.RMU
SEIS-DC+15VA | 08.RMV
SEIS-DC+15VA | 08.RMW
SEIS-DC+15VA | 08.UEA
SEIS-DC+15VA | 08.UKI
SEIS-DC+15VA | 08.UMU
SEIS-DC+15VA | 08.UMV
SEIS-DC+15VA | 08.UMW
SEIS-DC+15VA | 08.VKI
SEIS-DC+15VA | 08.VMU
SEIS-DC+15VA | 08.VMV
SEIS-DC+15VA | 08.VMW
VBB2-PXT | 09.LK1
VBB2-PXT | 09.UK1
VBB 1 Velocity High Gain Engin. mode | 10.BHU
VBB 1 Velocity High Gain Engin. mode | 10.BHV
VBB 1 Velocity High Gain Engin. mode | 10.BHW
Pressure Sensor Temperature (Inside) | 10.BKI
VBB 1 Velocity High Gain Engin. mode | 10.HHU
VBB 2 Velocity High Gain Engin. mode | 10.HHV
VBB 3 Velocity High Gain Engin. mode | 10.HHW
VBB 1 Velocity High Gain Engin. mode | 10.LHU
VBB 1 Velocity High Gain Engin. mode | 10.LHV
VBB 1 Velocity High Gain Engin. mode | 10.LHW
VBB 1 Velocity High Gain Engin. mode | 10.LKI
Atmosphere Temperature - sensor 1 | 10.LKO
SP-HK1-MPOS3 | 10.LMC
VBB 1 Position High Gain Engin. mode | 10.LMU
VBB 2 Position High Gain Engin. mode | 10.LMV
VBB 3 Position High Gain Engin. mode | 10.LMW
Wind Direction - sensor 1 | 10.LWD
Wind Horizontal Speed - sensor 1 | 10.LWS
VBB 1 Velocity High Gain Engin. mode | 10.MHU
VBB 1 Velocity High Gain Engin. mode | 10.MHV
VBB 1 Velocity High Gain Engin. mode | 10.MHW
VBB 1 Velocity High Gain Engin. mode | 10.MKI
VBB 1 Velocity High Gain Engin. mode | 10.RKI
VBB 1 Velocity High Gain Engin. mode | 10.RKO
VBB 1 Velocity High Gain Engin. mode | 10.RMU
VBB 1 Velocity High Gain Engin. mode | 10.RMV
VBB 1 Velocity High Gain Engin. mode | 10.RMW
VBB 1 Velocity High Gain Engin. mode | 10.RWD
VBB 1 Velocity High Gain Engin. mode | 10.RWS
VBB 1 Velocity High Gain Engin. mode | 10.UKI
VBB 1 Velocity High Gain Engin. mode | 10.UKO
SP-HK1-MPOS3 | 10.UMC
SP-HK1-MPOS3 | 10.UMU
SP-HK1-MPOS3 | 10.UMV
SP-HK1-MPOS3 | 10.UMW
SP-HK1-MPOS3 | 10.UWD
SP-HK1-MPOS3 | 10.UWS
SP-HK1-MPOS3 | 10.VKI
SP-HK1-MPOS3 | 10.VKO
SP-HK1-MPOS3 | 10.VMU
SP-HK1-MPOS3 | 10.VMV
SP-HK1-MPOS3 | 10.VMW
SP-HK1-MPOS3 | 10.VWD
SP-HK1-MPOS3 | 10.VWS
VBB 1 Velocity High Gain Engin. mode | 11.BHU
VBB 1 Velocity High Gain Engin. mode | 11.BHV
VBB 1 Velocity High Gain Engin. mode | 11.BHW
VBB 1 Velocity High Gain Engin. mode | 11.BKI
SP-HK2-MPOS3 | 11.LMC
VBB 1 Velocity High Gain Engin. mode | 11.MHU
VBB 1 Velocity High Gain Engin. mode | 11.MHV
VBB 1 Velocity High Gain Engin. mode | 11.MHW
VBB 1 Velocity High Gain Engin. mode | 11.MKI
VBB 1 Velocity High Gain Engin. mode | 11.RKI
VBB 1 Velocity High Gain Engin. mode | 11.RKO
VBB 1 Velocity High Gain Engin. mode | 11.RMU
VBB 1 Velocity High Gain Engin. mode | 11.RMV
VBB 1 Velocity High Gain Engin. mode | 11.RMW
VBB 1 Velocity High Gain Engin. mode | 11.RWD
VBB 1 Velocity High Gain Engin. mode | 11.RWS
VBB 1 Velocity High Gain Engin. mode | 11.UKI
VBB 1 Velocity High Gain Engin. mode | 11.UKO
SP-HK2-MPOS3 | 11.UMC
SP-HK2-MPOS3 | 11.UMU
SP-HK2-MPOS3 | 11.UMV
SP-HK2-MPOS3 | 11.UMW
SP-HK2-MPOS3 | 11.UWD
SP-HK2-MPOS3 | 11.UWS
SP-HK2-MPOS3 | 11.VKI
SP-HK2-MPOS3 | 11.VKO
SP-HK2-MPOS3 | 11.VMU
SP-HK2-MPOS3 | 11.VMV
SP-HK2-MPOS3 | 11.VMW
SP-HK2-MPOS3 | 11.VWD
SP-HK2-MPOS3 | 11.VWS
VBB 1 Velocity High Gain Engin. mode | 12.BHU
VBB 1 Velocity High Gain Engin. mode | 12.BHV
VBB 1 Velocity High Gain Engin. mode | 12.BHW
VBB 1 Velocity High Gain Engin. mode | 12.BKI
SEIS-DC-13VV | 12.LEV
VBB 1 Velocity High Gain Engin. mode | 12.MHU
VBB 1 Velocity High Gain Engin. mode | 12.MHV
VBB 1 Velocity High Gain Engin. mode | 12.MHW
VBB 1 Velocity High Gain Engin. mode | 12.MKI
VBB 1 Velocity High Gain Engin. mode | 12.RKI
VBB 1 Velocity High Gain Engin. mode | 12.RKO
VBB 1 Velocity High Gain Engin. mode | 12.RMU
VBB 1 Velocity High Gain Engin. mode | 12.RMV
VBB 1 Velocity High Gain Engin. mode | 12.RMW
VBB 1 Velocity High Gain Engin. mode | 12.RWD
VBB 1 Velocity High Gain Engin. mode | 12.RWS
SEIS-DC-13VV | 12.UEV
SEIS-DC-13VV | 12.UKI
SEIS-DC-13VV | 12.UKO
SEIS-DC-13VV | 12.UMU
SEIS-DC-13VV | 12.UMV
SEIS-DC-13VV | 12.UMW
SEIS-DC-13VV | 12.UWD
SEIS-DC-13VV | 12.UWS
SEIS-DC-13VV | 12.VKI
SEIS-DC-13VV | 12.VKO
SEIS-DC-13VV | 12.VMU
SEIS-DC-13VV | 12.VMV
SEIS-DC-13VV | 12.VMW
SEIS-DC-13VV | 12.VWD
SEIS-DC-13VV | 12.VWS
VBB 1 Velocity High Gain Engin. mode | 13.BHU
VBB 1 Velocity High Gain Engin. mode | 13.BHV
VBB 1 Velocity High Gain Engin. mode | 13.BHW
VBB 1 Velocity High Gain Engin. mode | 13.BKI
VBB3-PXT | 13.LK1
VBB3-PXT | 13.RKI
VBB3-PXT | 13.RKO
VBB3-PXT | 13.RMU
VBB3-PXT | 13.RMV
VBB3-PXT | 13.RMW
VBB3-PXT | 13.RWD
VBB3-PXT | 13.RWS
VBB3-PXT | 13.UK1
VBB3-PXT | 13.UKI
VBB3-PXT | 13.UKO
VBB3-PXT | 13.UMU
VBB3-PXT | 13.UMV
VBB3-PXT | 13.UMW
VBB3-PXT | 13.UWD
VBB3-PXT | 13.UWS
VBB3-PXT | 13.VKI
VBB3-PXT | 13.VKO
VBB3-PXT | 13.VMU
VBB3-PXT | 13.VMV
VBB3-PXT | 13.VMW
VBB3-PXT | 13.VWD
VBB3-PXT | 13.VWS
SP-HK1-TEMP-FB | 14.LKP
SP-HK1-TEMP-FB | 14.UKP
VBB 1 Velocity Low Gain Engin. mode | 15.BLU
VBB 1 Velocity Low Gain Engin. mode | 15.BLV
VBB 1 Velocity Low Gain Engin. mode | 15.BLW
VBB 1 Velocity Low Gain Engin. mode | 15.HLU
VBB 2 Velocity Low Gain Engin. mode | 15.HLV
VBB 3 Velocity Low Gain Engin. mode | 15.HLW
SP-HK2-TEMP-FBE | 15.LKP
SP-HK2-TEMP-FBE | 15.LLU
SP-HK2-TEMP-FBE | 15.LLV
SP-HK2-TEMP-FBE | 15.LLW
VBB 1 Position Low Gain Engin. mode | 15.LMU
VBB 2 Position Low Gain Engin. mode | 15.LMV
VBB 3 Position Low Gain Engin. mode | 15.LMW
Wind Vertical Speed - sensor 1 | 15.LWS
Wind Vertical Speed - sensor 1 | 15.MLU
Wind Vertical Speed - sensor 1 | 15.MLV
Wind Vertical Speed - sensor 1 | 15.MLW
Wind Vertical Speed - sensor 1 | 15.RMU
Wind Vertical Speed - sensor 1 | 15.RMV
Wind Vertical Speed - sensor 1 | 15.RMW
Wind Vertical Speed - sensor 1 | 15.RWS
SP-HK2-TEMP-FBE | 15.UKP
SP-HK2-TEMP-FBE | 15.UMU
SP-HK2-TEMP-FBE | 15.UMV
SP-HK2-TEMP-FBE | 15.UMW
SP-HK2-TEMP-FBE | 15.UWS
SP-HK2-TEMP-FBE | 15.VMU
SP-HK2-TEMP-FBE | 15.VMV
SP-HK2-TEMP-FBE | 15.VMW
SP-HK2-TEMP-FBE | 15.VWS
SP-HK2-TEMP-FBE | 16.BLU
SP-HK2-TEMP-FBE | 16.BLV
SP-HK2-TEMP-FBE | 16.BLW
SEIS-DC-15VA | 16.LEA
SEIS-DC-15VA | 16.MLU
SEIS-DC-15VA | 16.MLV
SEIS-DC-15VA | 16.MLW
SEIS-DC-15VA | 16.RMU
SEIS-DC-15VA | 16.RMV
SEIS-DC-15VA | 16.RMW
SEIS-DC-15VA | 16.RWS
SEIS-DC-15VA | 16.UEA
SEIS-DC-15VA | 16.UMU
SEIS-DC-15VA | 16.UMV
SEIS-DC-15VA | 16.UMW
SEIS-DC-15VA | 16.UWS
SEIS-DC-15VA | 16.VMU
SEIS-DC-15VA | 16.VMV
SEIS-DC-15VA | 16.VMW
SEIS-DC-15VA | 16.VWS
SEIS-DC-15VA | 17.BLU
SEIS-DC-15VA | 17.BLV
SEIS-DC-15VA | 17.BLW
VBB3-HKT | 17.LK2
VBB3-HKT | 17.MLU
VBB3-HKT | 17.MLV
VBB3-HKT | 17.MLW
VBB3-HKT | 17.RMU
VBB3-HKT | 17.RMV
VBB3-HKT | 17.RMW
VBB3-HKT | 17.RWS
VBB3-HKT | 17.UK2
VBB3-HKT | 17.UMU
VBB3-HKT | 17.UMV
VBB3-HKT | 17.UMW
VBB3-HKT | 17.UWS
VBB3-HKT | 17.VMU
VBB3-HKT | 17.VMV
VBB3-HKT | 17.VMW
VBB3-HKT | 17.VWS
VBB3-HKT | 18.BLU
VBB3-HKT | 18.BLV
VBB3-HKT | 18.BLW
SEIS-DC+7VAV | 18.LEV
SEIS-DC+7VAV | 18.RMU
SEIS-DC+7VAV | 18.RMV
SEIS-DC+7VAV | 18.RMW
SEIS-DC+7VAV | 18.RWS
SEIS-DC+7VAV | 18.UEV
SEIS-DC+7VAV | 18.UMU
SEIS-DC+7VAV | 18.UMV
SEIS-DC+7VAV | 18.UMW
SEIS-DC+7VAV | 18.UWS
SEIS-DC+7VAV | 18.VMU
SEIS-DC+7VAV | 18.VMV
SEIS-DC+7VAV | 18.VMW
SEIS-DC+7VAV | 18.VWS
SP-HK1-SP1-TEMP | 19.LK1
SP-HK1-SP1-TEMP | 19.UK1
MAGZ | 20.BFR
MAGZ | 20.BZC
SPR | 20.HZC
SPR | 20.LFR
SP-HK2-SP1-TEMPE | 20.LK2
Atmosphere Temperature - sensor 2 | 20.LKO
Wind Direction - sensor 2 | 20.LWD
Wind Horizontal Speed - sensor 2 | 20.LWS
Wind Horizontal Speed - sensor 2 | 20.MFR
Wind Horizontal Speed - sensor 2 | 20.MZC
Wind Horizontal Speed - sensor 2 | 20.RFR
Wind Horizontal Speed - sensor 2 | 20.RKO
Wind Horizontal Speed - sensor 2 | 20.RWD
Wind Horizontal Speed - sensor 2 | 20.RWS
Wind Horizontal Speed - sensor 2 | 20.RZC
Wind Horizontal Speed - sensor 2 | 20.UFR
SP-HK2-SP1-TEMPE | 20.UK2
SP-HK2-SP1-TEMPE | 20.UKO
SP-HK2-SP1-TEMPE | 20.UWD
SP-HK2-SP1-TEMPE | 20.UWS
SP-HK2-SP1-TEMPE | 20.UZC
SP-HK2-SP1-TEMPE | 20.VFR
SP-HK2-SP1-TEMPE | 20.VKO
SP-HK2-SP1-TEMPE | 20.VWD
SP-HK2-SP1-TEMPE | 20.VWS
SP-HK2-SP1-TEMPE | 20.VZC
SP-HK2-SP1-TEMPE | 21.BFR
SP-HK2-SP1-TEMPE | 21.BZC
SEIS-DC+7VAA | 21.LEA
SEIS-DC+7VAA | 21.MFR
SEIS-DC+7VAA | 21.MZC
SEIS-DC+7VAA | 21.RFR
SEIS-DC+7VAA | 21.RKO
SEIS-DC+7VAA | 21.RWD
SEIS-DC+7VAA | 21.RWS
SEIS-DC+7VAA | 21.RZC
SEIS-DC+7VAA | 21.UEA
SEIS-DC+7VAA | 21.UFR
SEIS-DC+7VAA | 21.UKO
SEIS-DC+7VAA | 21.UWD
SEIS-DC+7VAA | 21.UWS
SEIS-DC+7VAA | 21.UZC
SEIS-DC+7VAA | 21.VFR
SEIS-DC+7VAA | 21.VKO
SEIS-DC+7VAA | 21.VWD
SEIS-DC+7VAA | 21.VWS
SEIS-DC+7VAA | 21.VZC
SEIS-DC+7VAA | 22.BFR
SEIS-DC+7VAA | 22.BZC
VBB1-HKT | 22.LK2
VBB1-HKT | 22.MFR
VBB1-HKT | 22.MZC
VBB1-HKT | 22.RFR
VBB1-HKT | 22.RKO
VBB1-HKT | 22.RWD
VBB1-HKT | 22.RWS
VBB1-HKT | 22.RZC
VBB1-HKT | 22.UFR
VBB1-HKT | 22.UK2
VBB1-HKT | 22.UKO
VBB1-HKT | 22.UWD
VBB1-HKT | 22.UWS
VBB1-HKT | 22.UZC
VBB1-HKT | 22.VFR
VBB1-HKT | 22.VKO
VBB1-HKT | 22.VWD
VBB1-HKT | 22.VWS
VBB1-HKT | 22.VZC
VBB1-HKT | 23.BFR
VBB1-HKT | 23.BZC
SP-HK1-SP2-TEMP | 23.LK1
SP-HK1-SP2-TEMP | 23.LZC
SP-HK1-SP2-TEMP | 23.RFR
SP-HK1-SP2-TEMP | 23.RKO
SP-HK1-SP2-TEMP | 23.RWD
SP-HK1-SP2-TEMP | 23.RWS
SP-HK1-SP2-TEMP | 23.RZC
SP-HK1-SP2-TEMP | 23.UFR
SP-HK1-SP2-TEMP | 23.UK1
SP-HK1-SP2-TEMP | 23.UKO
SP-HK1-SP2-TEMP | 23.UWD
SP-HK1-SP2-TEMP | 23.UWS
SP-HK1-SP2-TEMP | 23.UZC
SP-HK1-SP2-TEMP | 23.VFR
SP-HK1-SP2-TEMP | 23.VKO
SP-HK1-SP2-TEMP | 23.VWD
SP-HK1-SP2-TEMP | 23.VWS
SP-HK1-SP2-TEMP | 23.VZC
SP-HK2-SP2-TEMPE | 24.LK2
SP-HK2-SP2-TEMPE | 24.UK2
SEIS-DC-10VV | 25.LEV
Wind Vertical Speed - sensor 2 | 25.LWS
Wind Vertical Speed - sensor 2 | 25.RWS
SEIS-DC-10VV | 25.UEV
SEIS-DC-10VV | 25.UWS
SEIS-DC-10VV | 25.VWS
VBB2-HKT | 26.LK2
VBB2-HKT | 26.RWS
VBB2-HKT | 26.UK2
VBB2-HKT | 26.UWS
VBB2-HKT | 26.VWS
SP-HK1-SP3-TEMP | 27.LK1
SP-HK1-SP3-TEMP | 27.RWS
SP-HK1-SP3-TEMP | 27.UK1
SP-HK1-SP3-TEMP | 27.UWS
SP-HK1-SP3-TEMP | 27.VWS
SP-HK2-SP3-TEMPE | 28.LK2
SP-HK2-SP3-TEMPE | 28.RWS
SP-HK2-SP3-TEMPE | 28.UK2
SP-HK2-SP3-TEMPE | 28.UWS
SP-HK2-SP3-TEMPE | 28.VWS
SEIS-DC-10VA | 29.LEA
SEIS-DC-10VA | 29.UEA
ESTAM | 30.LFA
VBB1-PXT | 30.LK1
Atmosphere Temperature - Composite | 30.LKO
Wind Direction - Composite | 30.LWD
Wind Horizontal Speed - Composite | 30.LWS
Wind Horizontal Speed - Composite | 30.RFA
Wind Horizontal Speed - Composite | 30.RKO
Wind Horizontal Speed - Composite | 30.RWD
Wind Horizontal Speed - Composite | 30.RWS
Wind Horizontal Speed - Composite | 30.UFA
VBB1-PXT | 30.UK1
VBB1-PXT | 30.UKO
VBB1-PXT | 30.UWD
VBB1-PXT | 30.UWS
VBB1-PXT | 30.VFA
VBB1-PXT | 30.VKO
VBB1-PXT | 30.VWD
VBB1-PXT | 30.VWS
SP-HK1+VREF | 31.LEV
SP-HK1+VREF | 31.RFA
SP-HK1+VREF | 31.RKO
SP-HK1+VREF | 31.RWD
SP-HK1+VREF | 31.RWS
SP-HK1+VREF | 31.UEV
SP-HK1+VREF | 31.UFA
SP-HK1+VREF | 31.UKO
SP-HK1+VREF | 31.UWD
SP-HK1+VREF | 31.UWS
SP-HK1+VREF | 31.VFA
SP-HK1+VREF | 31.VKO
SP-HK1+VREF | 31.VWD
SP-HK1+VREF | 31.VWS
SP-HK2-VREF | 32.LEV
SP-HK2-VREF | 32.RFA
SP-HK2-VREF | 32.RKO
SP-HK2-VREF | 32.RWD
SP-HK2-VREF | 32.RWS
SP-HK2-VREF | 32.UEV
SP-HK2-VREF | 32.UFA
SP-HK2-VREF | 32.UKO
SP-HK2-VREF | 32.UWD
SP-HK2-VREF | 32.UWS
SP-HK2-VREF | 32.VFA
SP-HK2-VREF | 32.VKO
SP-HK2-VREF | 32.VWD
SP-HK2-VREF | 32.VWS
ACQ-HKT | 33.LKA
ACQ-HKT | 33.RFA
ACQ-HKT | 33.RKO
ACQ-HKT | 33.RWD
ACQ-HKT | 33.RWS
ACQ-HKT | 33.UFA
ACQ-HKT | 33.UKA
ACQ-HKT | 33.UKO
ACQ-HKT | 33.UWD
ACQ-HKT | 33.UWS
ACQ-HKT | 33.VFA
ACQ-HKT | 33.VKO
ACQ-HKT | 33.VWD
ACQ-HKT | 33.VWS
SEIS-DC+1V2VA | 34.LEV
SEIS-DC+1V2VA | 34.UEV
SEIS-AC+5VREF | 35.LEV
Wind Vertical Speed - Composite | 35.LWS
Wind Vertical Speed - Composite | 35.RWS
SEIS-AC+5VREF | 35.UEV
SEIS-AC+5VREF | 35.UWS
SEIS-AC+5VREF | 35.VWS
SEIS-DC+1V2VA | 36.LEA
SEIS-DC+1V2VA | 36.RWS
SEIS-DC+1V2VA | 36.UEA
SEIS-DC+1V2VA | 36.UWS
SEIS-DC+1V2VA | 36.VWS
DC-HKT | 37.LKD
DC-HKT | 37.RWS
DC-HKT | 37.UKD
DC-HKT | 37.UWS
DC-HKT | 37.VWS
SEIS-DC+3V3VA | 38.LEA
SEIS-DC+3V3VA | 38.RWS
SEIS-DC+3V3VA | 38.UEA
SEIS-DC+3V3VA | 38.UWS
SEIS-DC+3V3VA | 38.VWS
SEIS-AC-6VSV | 39.LEV
SEIS-AC-6VSV | 39.UEV
SEIS-DC+3V3V | 40.LEV
ESTAVBB | 40.LHZ
MAXM | 40.LYA
MAXM | 40.RHZ
MAXM | 40.RYA
SEIS-DC+3V3V | 40.UEV
SEIS-DC+3V3V | 40.UHZ
SEIS-DC+3V3V | 40.UYA
SEIS-DC+3V3V | 40.VHZ
SEIS-DC+3V3V | 40.VYA
SEIS-AC+6VSV | 41.LEV
SEIS-AC+6VSV | 41.RHZ
SEIS-AC+6VSV | 41.RYA
SEIS-AC+6VSV | 41.UEV
SEIS-AC+6VSV | 41.UHZ
SEIS-AC+6VSV | 41.UYA
SEIS-AC+6VSV | 41.VHZ
SEIS-AC+6VSV | 41.VYA
SEIS-DC-5VV | 42.LEV
SEIS-DC-5VV | 42.RHZ
SEIS-DC-5VV | 42.RYA
SEIS-DC-5VV | 42.UEV
SEIS-DC-5VV | 42.UHZ
SEIS-DC-5VV | 42.UYA
SEIS-DC-5VV | 42.VHZ
SEIS-DC-5VV | 42.VYA
CTL-HKT | 43.LKC
CTL-HKT | 43.RHZ
CTL-HKT | 43.RYA
CTL-HKT | 43.UHZ
CTL-HKT | 43.UKC
CTL-HKT | 43.UYA
CTL-HKT | 43.VHZ
CTL-HKT | 43.VYA
SEIS-DC+5VV | 44.LEV
SEIS-DC+5VV | 44.UEV
SEIS-AC+6VSA | 45.LEA
MAXVBB | 45.LYZ
MAXVBB | 45.RYZ
SEIS-AC+6VSA | 45.UEA
SEIS-AC+6VSA | 45.UYZ
SEIS-AC+6VSA | 45.VYZ
SEIS-DC-5VA | 46.LEA
SEIS-DC-5VA | 46.RYZ
SEIS-DC-5VA | 46.UEA
SEIS-DC-5VA | 46.UYZ
SEIS-DC-5VA | 46.VYZ
CAL2-HKT | 47.LYO
CAL2-HKT | 47.RYZ
CAL2-HKT | 47.UYO
CAL2-HKT | 47.UYZ
CAL2-HKT | 47.VYZ
SEIS-DC+5VA | 48.LEA
SEIS-DC+5VA | 48.RYZ
SEIS-DC+5VA | 48.UEA
SEIS-DC+5VA | 48.UYZ
SEIS-DC+5VA | 48.VYZ
ESTAP1 | 50.LDO
ESTAP1 | 50.RDO
ESTAP1 | 50.UDO
ESTAP1 | 50.VDO
ESTAP1 | 51.RDO
ESTAP1 | 51.UDO
ESTAP1 | 51.VDO
ESTAP1 | 52.RDO
ESTAP1 | 52.UDO
ESTAP1 | 52.VDO
ESTAP1 | 53.RDO
ESTAP1 | 53.UDO
ESTAP1 | 53.VDO
ESTAP1 | 55.BZC
SEISVELZ | 55.HZC
SEISVELZ | 55.MZC
SEISVELZ | 55.RZC
SEISVELZ | 55.UZC
SEISVELZ | 55.VZC
SEISVELZ | 56.BZC
SEISVELZ | 56.MZC
SEISVELZ | 56.RZC
SEISVELZ | 56.UZC
SEISVELZ | 56.VZC
SEISVELZ | 57.BZC
SEISVELZ | 57.MZC
SEISVELZ | 57.RZC
SEISVELZ | 57.UZC
SEISVELZ | 57.VZC
SEISVELZ | 58.BZC
SEISVELZ | 58.LZC
SEISVELZ | 58.RZC
SEISVELZ | 58.UZC
SEISVELZ | 58.VZC
ESTAP2 | 60.LDO
Motor Temperature | 60.LKI
Motor Temperature | 60.RDO
Motor Temperature | 60.RKI
Motor Temperature | 60.UDO
Motor Temperature | 60.UKI
Motor Temperature | 60.VDO
Motor Temperature | 60.VKI
Tilt X | 61.LA1
Tilt X | 61.RA1
Tilt X | 61.RDO
Tilt X | 61.UA1
Tilt X | 61.UDO
Tilt X | 61.VA1
Tilt X | 61.VDO
Tilt Y | 62.LA2
Tilt Y | 62.RA2
Tilt Y | 62.RDO
Tilt Y | 62.UA2
Tilt Y | 62.UDO
Tilt Y | 62.VA2
Tilt Y | 62.VDO
High Resolution Tilt X | 63.LAU
High Resolution Tilt X | 63.RAU
High Resolution Tilt X | 63.RDO
High Resolution Tilt X | 63.UAU
High Resolution Tilt X | 63.UDO
High Resolution Tilt X | 63.VAU
High Resolution Tilt X | 63.VDO
High Resolution Tilit Y | 64.LAV
High Resolution Tilit Y | 64.RAV
High Resolution Tilit Y | 64.UAV
High Resolution Tilit Y | 64.VAV
SP1 (High Gain) | 65.EHU
SP2 (High Gain) | 65.EHV
SP3 (High Gain) | 65.EHW
Status Flag Register | 65.LYS
Status Flag Register | 65.MHU
Status Flag Register | 65.MHV
Status Flag Register | 65.MHW
Status Flag Register | 65.RHU
Status Flag Register | 65.RHV
Status Flag Register | 65.RHW
Status Flag Register | 65.RYS
Status Flag Register | 65.SHU
Status Flag Register | 65.SHV
Status Flag Register | 65.SHW
Status Flag Register | 65.UHU
Status Flag Register | 65.UHV
Status Flag Register | 65.UHW
Status Flag Register | 65.UYS
Status Flag Register | 65.VHU
Status Flag Register | 65.VHV
Status Flag Register | 65.VHW
Status Flag Register | 65.VYS
Step Counter | 66.LYN
Step Counter | 66.MHU
Step Counter | 66.MHV
Step Counter | 66.MHW
Step Counter | 66.RHU
Step Counter | 66.RHV
Step Counter | 66.RHW
Step Counter | 66.RYN
Step Counter | 66.SHU
Step Counter | 66.SHV
Step Counter | 66.SHW
Step Counter | 66.UHU
Step Counter | 66.UHV
Step Counter | 66.UHW
Step Counter | 66.UYN
Step Counter | 66.VHU
Step Counter | 66.VHV
Step Counter | 66.VHW
Step Counter | 66.VYN
LVL Power Control Register | 67.LYP
LVL Power Control Register | 67.MHU
LVL Power Control Register | 67.MHV
LVL Power Control Register | 67.MHW
LVL Power Control Register | 67.RHU
LVL Power Control Register | 67.RHV
LVL Power Control Register | 67.RHW
LVL Power Control Register | 67.RYP
LVL Power Control Register | 67.SHU
LVL Power Control Register | 67.SHV
LVL Power Control Register | 67.SHW
LVL Power Control Register | 67.UHU
LVL Power Control Register | 67.UHV
LVL Power Control Register | 67.UHW
LVL Power Control Register | 67.UYP
LVL Power Control Register | 67.VHU
LVL Power Control Register | 67.VHV
LVL Power Control Register | 67.VHW
LVL Power Control Register | 67.VYP
LVL Power Control Register | 68.LHU
LVL Power Control Register | 68.LHV
LVL Power Control Register | 68.LHW
LVL Motor Control Register | 68.LYM
LVL Motor Control Register | 68.RHU
LVL Motor Control Register | 68.RHV
LVL Motor Control Register | 68.RHW
LVL Motor Control Register | 68.RYM
LVL Motor Control Register | 68.SHU
LVL Motor Control Register | 68.SHV
LVL Motor Control Register | 68.SHW
LVL Motor Control Register | 68.UHU
LVL Motor Control Register | 68.UHV
LVL Motor Control Register | 68.UHW
LVL Motor Control Register | 68.UYM
LVL Motor Control Register | 68.VHU
LVL Motor Control Register | 68.VHV
LVL Motor Control Register | 68.VHW
LVL Motor Control Register | 68.VYM
Start Speed Register | 69.LYA
Start Speed Register | 69.RYA
Start Speed Register | 69.UYA
Start Speed Register | 69.VYA
SP1 ( Low Gain) | 70.EHU
SP2 (Low Gain) | 70.EHV
SP3 (Low Gain) | 70.EHW
Ramp Parameter Register | 70.LYB
MAXP1 | 70.LYO
MAXP1 | 70.MHU
MAXP1 | 70.MHV
MAXP1 | 70.MHW
MAXP1 | 70.RHU
MAXP1 | 70.RHV
MAXP1 | 70.RHW
Ramp Parameter Register | 70.RYB
Ramp Parameter Register | 70.RYO
Ramp Parameter Register | 70.SHU
Ramp Parameter Register | 70.SHV
Ramp Parameter Register | 70.SHW
Ramp Parameter Register | 70.UHU
Ramp Parameter Register | 70.UHV
Ramp Parameter Register | 70.UHW
Ramp Parameter Register | 70.UYB
Ramp Parameter Register | 70.UYO
Ramp Parameter Register | 70.VHU
Ramp Parameter Register | 70.VHV
Ramp Parameter Register | 70.VHW
Ramp Parameter Register | 70.VYB
Ramp Parameter Register | 70.VYO
Quad Step Count Register | 71.LYC
Quad Step Count Register | 71.MHU
Quad Step Count Register | 71.MHV
Quad Step Count Register | 71.MHW
Quad Step Count Register | 71.RHU
Quad Step Count Register | 71.RHV
Quad Step Count Register | 71.RHW
Quad Step Count Register | 71.RYC
Quad Step Count Register | 71.RYO
Quad Step Count Register | 71.SHU
Quad Step Count Register | 71.SHV
Quad Step Count Register | 71.SHW
Quad Step Count Register | 71.UHU
Quad Step Count Register | 71.UHV
Quad Step Count Register | 71.UHW
Quad Step Count Register | 71.UYC
Quad Step Count Register | 71.UYO
Quad Step Count Register | 71.VHU
Quad Step Count Register | 71.VHV
Quad Step Count Register | 71.VHW
Quad Step Count Register | 71.VYC
Quad Step Count Register | 71.VYO
Overtemperature Limit Register | 72.LYD
Overtemperature Limit Register | 72.MHU
Overtemperature Limit Register | 72.MHV
Overtemperature Limit Register | 72.MHW
Overtemperature Limit Register | 72.RHU
Overtemperature Limit Register | 72.RHV
Overtemperature Limit Register | 72.RHW
Overtemperature Limit Register | 72.RYD
Overtemperature Limit Register | 72.RYO
Overtemperature Limit Register | 72.SHU
Overtemperature Limit Register | 72.SHV
Overtemperature Limit Register | 72.SHW
Overtemperature Limit Register | 72.UHU
Overtemperature Limit Register | 72.UHV
Overtemperature Limit Register | 72.UHW
Overtemperature Limit Register | 72.UYD
Overtemperature Limit Register | 72.UYO
Overtemperature Limit Register | 72.VHU
Overtemperature Limit Register | 72.VHV
Overtemperature Limit Register | 72.VHW
Overtemperature Limit Register | 72.VYD
Overtemperature Limit Register | 72.VYO
Overtemperature Limit Register | 73.LHU
Overtemperature Limit Register | 73.LHV
Overtemperature Limit Register | 73.LHW
Executive Register | 73.LYE
Executive Register | 73.RHU
Executive Register | 73.RHV
Executive Register | 73.RHW
Executive Register | 73.RYE
Executive Register | 73.RYO
Executive Register | 73.SHU
Executive Register | 73.SHV
Executive Register | 73.SHW
Executive Register | 73.UHU
Executive Register | 73.UHV
Executive Register | 73.UHW
Executive Register | 73.UYE
Executive Register | 73.UYO
Executive Register | 73.VHU
Executive Register | 73.VHV
Executive Register | 73.VHW
Executive Register | 73.VYE
Executive Register | 73.VYO
Preset Quad Step Register | 74.LYF
Preset Quad Step Register | 74.RYF
Preset Quad Step Register | 74.UYF
Preset Quad Step Register | 74.VYF
SPZ | 75.EZC
SPZ | 75.MZC
SPZ | 75.RZC
SPZ | 75.SZC
SPZ | 75.UZC
SPZ | 75.VZC
SPZ | 76.MZC
SPZ | 76.RZC
SPZ | 76.SZC
SPZ | 76.UZC
SPZ | 76.VZC
SPZ | 77.MZC
SPZ | 77.RZC
SPZ | 77.SZC
SPZ | 77.UZC
SPZ | 77.VZC
SPZ | 78.LZC
SPZ | 78.RZC
SPZ | 78.SZC
SPZ | 78.UZC
SPZ | 78.VZC
SPZ | 80.BZC
VBBR | 80.HZC
S/C power voltage | 80.LEV
MAXP2 | 80.LYO
MAXP2 | 80.MZC
S/C power voltage | 80.REV
S/C power voltage | 80.RYO
S/C power voltage | 80.RZC
S/C power voltage | 80.UEV
S/C power voltage | 80.UYO
S/C power voltage | 80.UZC
S/C power voltage | 80.VEV
S/C power voltage | 80.VYO
S/C power voltage | 80.VZC
S/C power voltage | 81.BZC
S/C power voltage | 81.MZC
S/C power voltage | 81.RYO
S/C power voltage | 81.RZC
S/C power voltage | 81.UYO
S/C power voltage | 81.UZC
S/C power voltage | 81.VYO
S/C power voltage | 81.VZC
S/C power voltage | 82.BZC
S/C power voltage | 82.MZC
S/C power voltage | 82.RYO
S/C power voltage | 82.RZC
S/C power voltage | 82.UYO
S/C power voltage | 82.UZC
S/C power voltage | 82.VYO
S/C power voltage | 82.VZC
S/C power voltage | 83.BZC
S/C power voltage | 83.LZC
S/C power voltage | 83.RYO
S/C power voltage | 83.RZC
S/C power voltage | 83.UYO
S/C power voltage | 83.UZC
S/C power voltage | 83.VYO
S/C power voltage | 83.VZC
ESTASP | 85.LLZ
ESTASP | 85.RLZ
ESTASP | 85.ULZ
ESTASP | 85.VLZ
ESTASP | 86.RLZ
ESTASP | 86.ULZ
ESTASP | 86.VLZ
ESTASP | 87.RLZ
ESTASP | 87.ULZ
ESTASP | 87.VLZ
ESTASP | 88.RLZ
ESTASP | 88.ULZ
ESTASP | 88.VLZ
MAXSP | 90.LYZ
MAXSP | 90.RYZ
MAXSP | 90.UYZ
MAXSP | 90.VYZ
MAXSP | 91.RYZ
MAXSP | 91.UYZ
MAXSP | 91.VYZ
MAXSP | 92.RYZ
MAXSP | 92.UYZ
MAXSP | 92.VYZ
MAXSP | 93.RYZ
MAXSP | 93.UYZ
MAXSP | 93.VYZ